## PROJECT SUMMARY
Project Cost Summary
| Date: | 2023-03-07
| Project Title: | LaPrairie Home
| Project Location: | 1887 Jennens Road West Kelowna, BC
LaPrairie Home
| Project Cost Summary | Total Cost
| Base Bid | 2355698.5811
Note: Changing values here will change the values in complete project
Unit Wastage Percentages
| Unit | Wastage
| EA | 0%
| LF | 5%
| SF | 5%
| LS | 0%
| LBS | 5%
| TONS | 5%
| CY | 5%

## BASE BID
Sr# | Ref Sheet | Div No: | Description | Quantity | Wastage % | Quantity With Wastage | Unit | Unit Labor Hour | Total Labor Hour | Per Hour Labor Rate | Total Labor Hour Rate | Unit Material Cost | Total Material Cost | Total Cost | Trade Cost
MATERIAL TAKEOFF AND COST SUMMARY
LaPrairie Home | [5 empty] | Date: | 2023-03-07
| Sub-Total= |  | 1879321.8404 |  |  | Project Title: | LaPrairie Home
9.5% | Material Tax= |  | 100512.3726 |  |  | Project Location: | 1887 Jennens Road West Kelowna, BC
20% | Overhead and Profit= |  | 375864.3681
| Total Bid= |  | 2355698.5811 |  |  | Gross area of Structure=
Internal Area of Structure=
[6 empty] | No. of Floors= | 3
Sr# | Ref Sheet | Div No: | Description | Quantity | Wastage % | Quantity With Wastage | Unit | Unit Labor Hour | Total Labor Hour | Per Hour Labor Rate | Total Labor Cost | Unit Material Cost | Total Material Cost | Item Cost | Trade Cost
|  | Div-03 | Concrete | [11 empty] | 242056.5798
Concrete Pad Footing
1 |  | Div-03 | (42" X 42" X 12") Concrete Pad Footing (11/S10) - (4 EA) | 1.8148 | 5% | 1.9056 | CY | 3 | 5.7167 | 52 | 297.2667 | 185 | 352.5278 | 649.7944
2 |  | Div-03 | 4- #5 Bar EW | 116.816 | 5% | 122.6568 | LBS | 0.02 | 2.4531 | 52 | 127.5631 | 0.9 | 110.3911 | 237.9542
3 |  | Div-03 | (54" X 54" X 12") Concrete Pad Footing (13/S10) - (2 EA) | 1.5 | 5% | 1.575 | CY | 3 | 4.725 | 52 | 245.7 | 185 | 291.375 | 537.075
4 |  | Div-03 | 5- #5 Bar EW | 93.87 | 5% | 98.5635 | LBS | 0.02 | 1.9713 | 52 | 102.506 | 0.9 | 88.7071 | 191.2132
5 |  | Div-03 | (30" X 30" X 10") Concrete Pad Footing (12/S10) - (3 EA) | 0.57639 | 5% | 0.60521 | CY | 3 | 1.8156 | 52 | 94.4125 | 185 | 111.9635 | 206.376
6 |  | Div-03 | 3- #5 Bar EW | 46.935 | 5% | 49.2817 | LBS | 0.02 | 0.98563 | 52 | 51.253 | 0.9 | 44.3536 | 95.6066
7 |  | Div-03 | (3'-6" x 3'-6" x 12") Concrete Pad Footing (9/ S10) - (22 EA) | 9.9815 | 5% | 10.4806 | CY | 3 | 31.4417 | 52 | 1634.9667 | 185 | 1938.9028 | 3573.8694
8 |  | Div-03 | 4- #5 Bar EW | 642.488 | 5% | 674.6124 | LBS | 0.02 | 13.4922 | 52 | 701.5969 | 0.9 | 607.1512 | 1308.7481
9 |  | Div-03 | (2'-6" x 2'-6" x 10") Concrete Pad Footing (7/ S10) - (6 EA) | 1.1528 | 5% | 1.2104 | CY | 3 | 3.6313 | 52 | 188.825 | 185 | 223.9271 | 412.7521
10 |  | Div-03 | 3- #5 Bar EW | 93.87 | 5% | 98.5635 | LBS | 0.02 | 1.9713 | 52 | 102.506 | 0.9 | 88.7071 | 191.2132
11 |  | Div-03 | (3'-0" x 3'-0" x 10") Concrete Pad Footing - (4 EA) | 1.1067 | 5% | 1.162 | CY | 3 | 3.486 | 52 | 181.272 | 185 | 214.97 | 396.242
12 |  | Div-03 | 4- #5 Bar EW | 100.128 | 5% | 105.1344 | LBS | 0.02 | 2.1027 | 52 | 109.3398 | 0.9 | 94.621 | 203.9607
13 |  | Div-03 | (5'-6" x 5'-6" x 14") Concrete Pad Footing (10/ S10) - (4 EA) | 5.9604 | 5% | 6.2584 | CY | 3 | 18.7752 | 52 | 976.3087 | 185 | 1157.8019 | 2134.1106
14 |  | Div-03 | 6- #5 Bar EW | 275.352 | 5% | 289.1196 | LBS | 0.02 | 5.7824 | 52 | 300.6844 | 0.9 | 260.2076 | 560.892
Concrete Strip Footing
15 |  | Div-03 | (24" Wide X 8" H) Continuous Concrete Footing (1/ S10) - (384 LF) | 19.0354 | 5% | 19.9872 | CY | 3 | 59.9617 | 52 | 3118.0058 | 185 | 3697.6351 | 6815.6409
16 |  | Div-03 | 3- #5 Bar | 1200.128 | 5% | 1260.1343 | LBS | 0.02 | 25.2027 | 52 | 1310.5397 | 0.9 | 1134.1209 | 2444.6606
17 |  | Div-03 | (24" Wide X 8" H) Cont. Concrete Footing (6/S10) - (146 LF) | 8.9892 | 5% | 9.4387 | CY | 3 | 28.316 | 52 | 1472.4322 | 185 | 1746.1535 | 3218.5857
18 |  | Div-03 | 3- #5 Bar | 457.4911 | 5% | 480.3656 | LBS | 0.02 | 9.6073 | 52 | 499.5803 | 0.9 | 432.3291 | 931.9094
19 |  | Div-03 | (24" Wide X 8" H) Continuous Concrete Footing (1/ S10) - (384 LF) | 19.0354 | 5% | 19.9872 | CY |  | 0 |  | 0 |  | 0 | 0
20 |  | Div-03 | 3- #5 Bar | 1200.128 | 5% | 1260.1343 | LBS |  | 0 |  | 0 |  | 0 | 0
21 |  | Div-03 | (24" Wide X 10" H) Continuous Concrete Footing (17/ S10) - (29 LF) | 1.7842 | 5% | 1.8734 | CY | 3 | 5.6202 | 52 | 292.2507 | 185 | 346.5794 | 638.8302
22 |  | Div-03 | 3- #5 Bar | 90.8036 | 5% | 95.3438 | LBS | 0.02 | 1.9069 | 52 | 99.1575 | 0.9 | 85.8094 | 184.9669
23 |  | Div-03 | #5 Bar @ 12" O.C | 60.5357 | 5% | 63.5625 | LBS | 0.02 | 1.2713 | 52 | 66.105 | 0.9 | 57.2063 | 123.3113
Concrete Foundation Wall
24 |  | Div-03 | (20" H X 8" Wide) Concrete Foundation Wall (4/S10) - (47 LF) | 1.9448 | 5% | 2.0421 | CY | 3 | 6.1262 | 52 | 318.5605 | 185 | 377.7801 | 696.3406
25 |  | Div-03 | 2- #5 Bar Cont. Bar | 98.042 | 5% | 102.9441 | LBS | 0.02 | 2.0589 | 52 | 107.0619 | 0.9 | 92.6497 | 199.7116
26 |  | Div-03 | #5 Bar EW | 157.8476 | 5% | 165.74 | LBS | 0.02 | 3.3148 | 52 | 172.3696 | 0.9 | 149.166 | 321.5356
27 |  | Div-03 | (11'-4" H X 8" Wide) Concrete Foundation Wall (1/S10) - (110 LF) | 30.9436 | 5% | 32.4908 | CY | 3 | 97.4723 | 52 | 5068.5572 | 185 | 6010.789 | 11079.3462
28 |  | Div-03 | 2- #5 Bar Cont. Bar | 229.46 | 5% | 240.933 | LBS | 0.02 | 4.8187 | 52 | 250.5703 | 0.9 | 216.8397 | 467.41
29 |  | Div-03 | #5 Bar EW | 1734.1332 | 5% | 1820.8399 | LBS | 0.02 | 36.4168 | 52 | 1893.6735 | 0.9 | 1638.7559 | 3532.4294
30 |  | Div-03 | (8" Wide X 11'-6" H) Concrete Foundation Wall (1/ S10) - (201 LF) | 57.3081 | 5% | 60.1735 | CY | 3 | 180.5204 | 52 | 9387.0631 | 185 | 11132.0941 | 20519.1572
31 |  | Div-03 | 2- #5 Bar Cont. Bar | 418.9105 | 5% | 439.856 | LBS | 0.02 | 8.7971 | 52 | 457.4503 | 0.9 | 395.8704 | 853.3207
32 |  | Div-03 | #5 Bar EW | 3211.6473 | 5% | 3372.2297 | LBS | 0.02 | 67.4446 | 52 | 3507.1189 | 0.9 | 3035.0067 | 6542.1256
33 |  | Div-03 | (8" Wide X 6" H) Foundation Wall (5/ S10) - (218 LF) | 2.702 | 5% | 2.8371 | CY | 3 | 8.5112 | 52 | 442.5812 | 185 | 524.8559 | 967.4372
34 |  | Div-03 | 3- #5 Bar | 681.4023 | 5% | 715.4724 | LBS | 0.02 | 14.3094 | 52 | 744.0913 | 0.9 | 643.9252 | 1388.0165
35 |  | Div-03 | (12" H X 8" Wide) Concrete Foundation Wall (6/S10) - (15 LF) | 0.47249 | 5% | 0.49611 | CY | 3 | 1.4883 | 52 | 77.3931 | 185 | 91.7802 | 169.1733
36 |  | Div-03 | 2- #5 Bar | 32.0618 | 5% | 33.6649 | LBS | 0.02 | 0.6733 | 52 | 35.0115 | 0.9 | 30.2984 | 65.3099
37 |  | Div-03 | #3 Bar | 16.3549 | 5% | 17.1727 | LBS | 0.02 | 0.34345 | 52 | 17.8596 | 0.9 | 15.4554 | 33.315
38 |  | Div-03 | (20" H X 8" Wide) Concrete Foundation Wall (4/S10) - (47 LF) | 1.9448 | 5% | 2.0421 | CY |  | 0 |  | 0 |  | 0 | 0
39 |  | Div-03 | 2- #5 Bar Cont. Bar | 98.042 | 5% | 102.9441 | LBS |  | 0 |  | 0 |  | 0 | 0
40 |  | Div-03 | #5 Bar EW | 157.8476 | 5% | 165.74 | LBS |  | 0 |  | 0 |  | 0 | 0
41 |  | Div-03 | (11'-4" H X 8" Wide) Concrete Foundation Wall (1/S10) - (110 LF) | 30.9436 | 5% | 32.4908 | CY |  | 0 |  | 0 |  | 0 | 0
42 |  | Div-03 | 2- #5 Bar Cont. Bar | 229.46 | 5% | 240.933 | LBS |  | 0 |  | 0 |  | 0 | 0
43 |  | Div-03 | #5 Bar EW | 1734.1332 | 5% | 1820.8399 | LBS |  | 0 |  | 0 |  | 0 | 0
44 |  | Div-03 | (12" Wide X 8" Thk X 22" H) Concrete Foundation Wall (13/S10) - (2 LF) | 0.090822 | 5% | 0.095363 | CY | 3 | 0.28609 | 52 | 14.8767 | 185 | 17.6422 | 32.5189
45 |  | Div-03 | 3- #5 Bar | 5.0898 | 5% | 5.3443 | LBS | 0.02 | 0.10689 | 52 | 5.5581 | 0.9 | 4.8099 | 10.368
46 |  | Div-03 | (8" Wide X 11'-6" H) Concrete Foundation Wall (1/ S10) - (201 LF) | 57.3081 | 5% | 60.1735 | CY |  | 0 |  | 0 |  | 0 | 0
47 |  | Div-03 | 2- #5 Bar Cont. Bar | 418.9105 | 5% | 439.856 | LBS |  | 0 |  | 0 |  | 0 | 0
48 |  | Div-03 | #5 Bar EW | 3211.6473 | 5% | 3372.2297 | LBS |  | 0 |  | 0 |  | 0 | 0
49 |  | Div-03 | (8" Wide X 6" H) Foundation Wall (5/ S10) - (218 LF) | 2.702 | 5% | 2.8371 | CY |  | 0 |  | 0 |  | 0 | 0
50 |  | Div-03 | 3- #5 Bar | 681.4023 | 5% | 715.4724 | LBS |  | 0 |  | 0 |  | 0 | 0
51 |  | Div-03 | (14" Wide X 14" H) Foundation Wall (5/ S10) - (35 LF) | 1.7543 | 5% | 1.842 | CY | 3 | 5.5261 | 52 | 287.3568 | 185 | 340.7756 | 628.1324
52 |  | Div-03 | 3- #5 Bar | 108.8266 | 5% | 114.268 | LBS | 0.02 | 2.2854 | 52 | 118.8387 | 0.9 | 102.8412 | 221.6798
Concrete Pedestal
53 |  | Div-03 | (12" X 12" X 18" H) Concrete Pedestal (9/ S10) - (22 EA) | 1.2222 | 5% | 1.2833 | CY | 3 | 3.85 | 52 | 200.2 | 185 | 237.4167 | 437.6167
54 |  | Div-03 | 4- #5 Bar | 252.406 | 5% | 265.0263 | LBS | 0.02 | 5.3005 | 52 | 275.6274 | 0.9 | 238.5237 | 514.151
55 |  | Div-03 | #3 Bar Ties | 66.176 | 5% | 69.4848 | LBS | 0.02 | 1.3897 | 52 | 72.2642 | 0.9 | 62.5363 | 134.8005
56 |  | Div-03 | (12" X 12" X 16" H) Concrete Pedestal (10/ S10) - (4 EA) | 0.19704 | 5% | 0.20689 | CY | 3 | 0.62067 | 52 | 32.2747 | 185 | 38.2744 | 70.5491
57 |  | Div-03 | 4- #5 Bar | 45.892 | 5% | 48.1866 | LBS | 0.02 | 0.96373 | 52 | 50.1141 | 0.9 | 43.3679 | 93.482
58 |  | Div-03 | #3 Bar Ties | 12.032 | 5% | 12.6336 | LBS | 0.02 | 0.25267 | 52 | 13.1389 | 0.9 | 11.3702 | 24.5092
Concrete Slab
59 |  | Div-03 | (4" Thk) Concrete Slab @ Garage | 20.3623 | 5% | 21.3805 | CY | 3 | 64.1414 | 52 | 3335.352 | 185 | 3955.3854 | 7290.7374
60 |  | Div-03 | 6X6X6/6 WWM | 1666.01 | 5% | 1749.3105 | SF | 0.01 | 17.4931 | 52 | 909.6415 | 0.4 | 699.7242 | 1609.3657
61 |  | Div-03 | 6 Mil Poly Vapor Barrier | 1666.01 | 5% | 1749.3105 | SF | 0.007 | 12.2452 | 52 | 636.749 | 0.326 | 570.2752 | 1207.0242
62 |  | Div-03 | 4" Compacted Fill | 20.3623 | 5% | 21.3805 | CY | 0.5 | 10.6902 | 52 | 555.892 | 35 | 748.3162 | 1304.2082
63 |  | Div-03 | 3" Extruded CPS Insulation | 1666.01 | 5% | 1749.3105 | SF | 0.013 | 22.741 | 52 | 1182.5339 | 1.42 | 2484.0209 | 3666.5548
64 |  | Div-03 | (4" Dia) Perforated Pipe for Radon Ventilation | 225 | 5% | 236.25 | LF | 0.065 | 15.3563 | 52 | 798.525 | 1.664 | 393.12 | 1191.645
65 |  | Div-03 | (4" Thk) Slab On Grade @ House | 67.0762 | 5% | 70.43 | CY | 3 | 211.2899 | 52 | 10987.0761 | 185 | 13029.5454 | 24016.6215
66 |  | Div-03 | 6X6X6/6 WWM | 5488.05 | 5% | 5762.4525 | SF | 0.01 | 57.6245 | 52 | 2996.4753 | 0.4 | 2304.981 | 5301.4563
67 |  | Div-03 | 6 Mil Poly Vapor Barrier | 5488.05 | 5% | 5762.4525 | SF | 0.007 | 40.3372 | 52 | 2097.5327 | 0.326 | 1878.5595 | 3976.0922
68 |  | Div-03 | 6" Compacted Fill | 101.6306 | 5% | 106.7121 | CY | 0.5 | 53.356 | 52 | 2774.5142 | 35 | 3734.9229 | 6509.4371
69 |  | Div-03 | (7" Thk) Concrete Slab @ 1F | 113.5608 | 5% | 119.2389 | CY | 3 | 357.7167 | 52 | 18601.266 | 185 | 22059.1937 | 40660.4597
70 |  | Div-03 | #5 Bar | 13925.67 | 5% | 14621.9535 | LBS | 0.015 | 219.3293 | 52 | 11405.1237 | 0.9 | 13159.7582 | 24564.8819
71 |  | Div-03 | #3 Bar | 3492.59 | 5% | 3667.2195 | LBS | 0.015 | 55.0083 | 52 | 2860.4312 | 0.9 | 3300.4976 | 6160.9288
72 |  | Div-03 | B1- (4) #6 Bar | 45.9762 | 5% | 48.275 | LBS | 0.015 | 0.72413 | 52 | 37.6545 | 0.9 | 43.4475 | 81.1021
73 |  | Div-03 | B2- (3) #8 Bar | 256.5336 | 5% | 269.3603 | LBS | 0.015 | 4.0404 | 52 | 210.101 | 0.9 | 242.4243 | 452.5253
74 |  | Div-03 | T1- (4) #6 Bar | 44.3691 | 5% | 46.5875 | LBS | 0.015 | 0.69881 | 52 | 36.3383 | 0.9 | 41.9288 | 78.2671
75 |  | Div-03 | T2- (3) #8 Bar | 304.8339 | 5% | 320.0756 | LBS | 0.015 | 4.8011 | 52 | 249.659 | 0.9 | 288.068 | 537.727
76 |  | Div-03 | (9" X 16") Thickened Concrete slab (14a/S13) | 0.2394 | 5% | 0.25137 | CY | 3 | 0.75411 | 52 | 39.2137 | 185 | 46.5035 | 85.7172
Concrete Beam & Column
77 |  | Div-03 | (10" X 29") Concrete Beam B1 (15/S13) | 3.6522 | 5% | 3.8348 | CY | 3 | 11.5043 | 52 | 598.2226 | 185 | 709.4307 | 1307.6533
78 |  | Div-03 | (6) #6 Bar T&B | 886.0598 | 5% | 930.3628 | LBS | 0.015 | 13.9554 | 52 | 725.683 | 0.9 | 837.3265 | 1563.0096
79 |  | Div-03 | 2-#5 Bar EF | 205.0955 | 5% | 215.3503 | LBS | 0.015 | 3.2303 | 52 | 167.9732 | 0.9 | 193.8153 | 361.7885
80 |  | Div-03 | #3 Ties @ 12" O.C | 120.147 | 5% | 126.1544 | LBS | 0.015 | 1.8923 | 52 | 98.4004 | 0.9 | 113.539 | 211.9394
81 |  | Div-03 | (2'-2" X 7") Beam (5/S13) | 14.173 | 5% | 14.8817 | CY | 3 | 44.6451 | 52 | 2321.5438 | 185 | 2753.1128 | 5074.6565
82 |  | Div-03 | #3 Ties @ 12" O.C | 582.612 | 5% | 611.7426 | LBS | 0.015 | 9.1761 | 52 | 477.1592 | 0.9 | 550.5683 | 1027.7276
83 |  | Div-03 | (10" X 29") Concrete Beam B1 (10a/S13) | 0.48039 | 5% | 0.50441 | CY | 3 | 1.5132 | 52 | 78.6879 | 185 | 93.3158 | 172.0037
84 |  | Div-03 | (6) #6 Bar T&B | 109.0452 | 5% | 114.4975 | LBS | 0.015 | 1.7175 | 52 | 89.308 | 0.9 | 103.0477 | 192.3557
85 |  | Div-03 | 2-#5 Bar EF | 25.2406 | 5% | 26.5026 | LBS | 0.015 | 0.39754 | 52 | 20.6721 | 0.9 | 23.8524 | 44.5244
86 |  | Div-03 | #3 Ties @ 12" O.C | 14.7862 | 5% | 15.5255 | LBS | 0.015 | 0.23288 | 52 | 12.1099 | 0.9 | 13.973 | 26.0829
87 |  | Div-03 | (10" X65") Concrete Drop Beam B1 (16/S13) | 2.8898 | 5% | 3.0343 | CY | 3 | 9.1028 | 52 | 473.3448 | 185 | 561.3384 | 1034.6831
88 |  | Div-03 | 3- #5 Bar | 45.8398 | 5% | 48.1318 | LBS | 0.015 | 0.72198 | 52 | 37.5428 | 0.9 | 43.3187 | 80.8615
89 |  | Div-03 | #5 Bar @ 12" O.C EW | 196.0937 | 5% | 205.8984 | LBS | 0.015 | 3.0885 | 52 | 160.6007 | 0.9 | 185.3086 | 345.9093
90 |  | Div-03 | #3 Bar @ 12" O.C | 27.542 | 5% | 28.9191 | LBS | 0.015 | 0.43379 | 52 | 22.5569 | 0.9 | 26.0272 | 48.5841
91 |  | Div-03 | (8" X 28") Concrete Beam (13/S13) | 3.1349 | 5% | 3.2917 | CY | 3 | 9.875 | 52 | 513.4999 | 185 | 608.9582 | 1122.4581
92 |  | Div-03 | 3- #5 Bar | 169.6544 | 5% | 178.1371 | LBS | 0.015 | 2.6721 | 52 | 138.9469 | 0.9 | 160.3234 | 299.2703
93 |  | Div-03 | #3 Bar @ 12" O.C | 101.9336 | 5% | 107.0303 | LBS | 0.015 | 1.6055 | 52 | 83.4836 | 0.9 | 96.3273 | 179.8109
94 |  | Div-03 | (10" X 32") Concrete Beam (14/S13) | 0.53186 | 5% | 0.55846 | CY | 3 | 1.6754 | 52 | 87.1193 | 185 | 103.3146 | 190.4339
95 |  | Div-03 | #5 Bar | 20.2759 | 5% | 21.2897 | LBS | 0.015 | 0.31935 | 52 | 16.606 | 0.9 | 19.1607 | 35.7667
96 |  | Div-03 | (24" X 10") Concrete Column @ 9'-6" H (7/S13) | 0.30741 | 5% | 0.32278 | LBS | 0.015 | 0.0048417 | 52 | 0.25177 | 0.9 | 0.2905 | 0.54227
97 |  | Div-03 | #6 Bar | 570.76 | 5% | 599.298 | LBS | 0.015 | 8.9895 | 52 | 467.4524 | 0.9 | 539.3682 | 1006.8206
98 |  | Div-03 | #3 Bar Ties | 101.2662 | 5% | 106.3295 | LBS | 0.015 | 1.5949 | 52 | 82.937 | 0.9 | 95.6966 | 178.6336
Misc.
99 |  | Div-03 | Formwork | 9112 | 5% | 9567.6 | SF | 0.02 | 191.352 | 52 | 9950.304 |  | 0 | 9950.304
100 |  | Div-03 | Dimpleboard Drainage Layer | 450 | 5% | 472.5 | SF | 0.015 | 7.0875 | 52 | 368.55 | 1.5597 | 736.9464 | 1105.4964
101 |  | Div-03 | Spray on Bituminous Membrane | 675 | 5% | 708.75 | SF | 0.02 | 14.175 | 52 | 737.1 | 2.6 | 1842.75 | 2579.85
102 |  | Div-03 | Keena 10mm DirwallTM Rainscreen (Drainage/ Ventilation Mat) | 1.6362 | 5% | 1.7181 | CY | 3 | 5.1542 | 52 | 268.0171 | 185 | 317.8408 | 585.8579
Mobilization
103 |  | Div-03 | Mobilization for Concrete | 374.9 | 5% | 393.645 | CY | 0.25 | 98.4112 | 52 | 5117.385 |  | 0 | 5117.385
104 |  | Div-03 | Mobilization for Steel | 15.7475 | 5% | 16.5349 | TONS | 4 | 66.1395 | 52 | 3439.254 |  | 0 | 3439.254
105 |  | Div-03 | Mobilization for Aggregate | 184.8 | 5% | 194.04 | TONS | 0.2 | 38.808 | 52 | 2018.016 |  | 0 | 2018.016
|  | Div-05 | Metals | [11 empty] | 205569.5349
Steel Beam
106 |  | Div-05 | W10X30 Beam | 2909.4 | 5% | 3054.87 | LBS | 0.02 | 61.0974 | 65 | 3971.331 | 2.1 | 6415.227 | 10386.558
107 |  | Div-05 | W12X26 Beam | 6702.54 | 5% | 7037.667 | LBS | 0.02 | 140.7533 | 65 | 9148.9671 | 2.1 | 14779.1007 | 23928.0678
108 |  | Div-05 | W12X40 Beam | 4513.2 | 5% | 4738.86 | LBS | 0.02 | 94.7772 | 65 | 6160.518 | 2.1 | 9951.606 | 16112.124
109 |  | Div-05 | W12X50 Beam | 5023.5 | 5% | 5274.675 | LBS | 0.02 | 105.4935 | 65 | 6857.0775 | 2.1 | 11076.8175 | 17933.895
110 |  | Div-05 | (4" X 4" X 1/4") HSS Beam | 2525.5164 | 5% | 2651.7922 | LBS | 0.02 | 53.0358 | 65 | 3447.3299 | 2.1 | 5568.7637 | 9016.0935
Steel Column
111 |  | Div-05 | (4" X 4" X 1/4") HSS | 329.67 | 5% | 346.1535 | LBS | 0.02 | 6.9231 | 65 | 449.9995 | 2.1 | 726.9224 | 1176.9219
112 |  | Div-05 | (6" Dia X 1/4") HSS | 274.1547 | 5% | 287.8624 | LBS | 0.02 | 5.7572 | 65 | 374.2212 | 2.1 | 604.5111 | 978.7322
113 |  | Div-05 | (6" Dia X 3/8") HSS | 7509.15 | 5% | 7884.6075 | LBS | 0.02 | 157.6922 | 65 | 10249.9898 | 2.1 | 16557.6758 | 26807.6655
114 |  | Div-05 | W12X50 Column | 1350 | 5% | 1417.5 | LBS | 0.02 | 28.35 | 65 | 1842.75 | 2.1 | 2976.75 | 4819.5
115 |  | Div-05 | W6X20 Column | 1266 | 5% | 1329.3 | LBS | 0.02 | 26.586 | 65 | 1728.09 | 2.1 | 2791.53 | 4519.62
Base Plate/ Cap Plate
116 |  | Div-05 | (10" X 10" X 1/2") Base Plate | 33 | 0% | 33 | EA | 0.5097 | 16.8201 | 65 | 1093.3065 | 33.98 | 1121.34 | 2214.6465
117 |  | Div-05 | (10" X 10" X 3/4") Cap Plate | 21 | 0% | 21 | EA | 0.76485 | 16.0618 | 65 | 1044.0203 | 50.99 | 1070.79 | 2114.8102
118 |  | Div-05 | (10" X 8" X 1/2") Cap Plate | 1 | 0% | 1 | EA | 0.7392 | 0.7392 | 65 | 48.048 | 49.28 | 49.28 | 97.328
119 |  | Div-05 | (12" X 6" X 1/2") Cap Plate | 4 | 0% | 4 | EA | 0.67635 | 2.7054 | 65 | 175.851 | 45.09 | 180.36 | 356.211
120 |  | Div-05 | (12" X 7" X 1/2") Cap Plate | 1 | 0% | 1 | EA | 0.77175 | 0.77175 | 65 | 50.1638 | 51.45 | 51.45 | 101.6138
121 |  | Div-05 | 8" X 4" X 5/8" Bearing Plate | 9 | 0% | 9 | EA | 0.33375 | 3.0038 | 65 | 195.2438 | 22.25 | 200.25 | 395.4937
Interior/ Exterior Handrail & Guardrail
122 |  | Div-05 | (36" H) Interior Handrail @ Stairs | 44.09 | 5% | 46.2945 | LF | 0.65 | 30.0914 | 65 | 1955.9426 | 42.11 | 1949.4614 | 3905.404
123 |  | Div-05 | (42" H) 5/8" Monolithic Glass Screen Guardrail | 364.81 | 5% | 383.0505 | LF | 0.75 | 287.2879 | 65 | 18673.7119 | 58 | 22216.929 | 40890.6409
124 |  | Div-05 | (36" H) 5/8" Monolithic Glass Screen Guardrail | 69.88 | 5% | 73.374 | LF | 0.7 | 51.3618 | 65 | 3338.517 | 55 | 4035.57 | 7374.087
125 |  | Div-05 | (60" H) Guardrail W/ Non Climbable Edge | 17.59 | 5% | 18.4695 | LF | 0.9 | 16.6226 | 65 | 1080.4658 | 65.34 | 1206.7971 | 2287.2629
Screen Wall
126 |  | Div-05 | (8' H) Security Wall | 98.95 | 5% | 103.8975 | LF | 0.52 | 54.0267 | 65 | 3511.7355 | 120 | 12467.7 | 15979.4355
127 |  | Div-05 | (9' H) Security Wall | 50.09 | 5% | 52.5945 | LF | 0.585 | 30.7678 | 65 | 1999.9059 | 135 | 7100.2575 | 9100.1634
Stairs
128 |  | Div-05 | 2" Glass Tread (4x- 1/2" Laminations) | 145.75 | 5% | 153.0375 | SF | 0.065 | 9.9474 | 65 | 646.5834 | 7.25 | 1109.5219 | 1756.1053
Mobilization
129 |  | Div-05 | Mobilization for Steel | 16.201 | 5% | 17.0111 | TONS | 3 | 51.0332 | 65 | 3317.1548 |  | 0 | 3317.1548
|  | Div-06 | Wood, Plastics and Sheathing | [11 empty] | 265995.5456
Wooden Post
130 |  | Div-06 | (6-3/4" X 6") GL Post @ 9'-6" H | 18.7 | 5% | 19.635 | LF | 0.082564 | 1.6211 | 50 | 81.0569 | 34.1514 | 670.5618 | 751.6187
131 |  | Div-06 | (8-1/2" X 9") GL Post @ 11'-5" H | 118 | 5% | 123.9 | LF | 0.15595 | 19.3227 | 50 | 966.133 | 64.5081 | 7992.5546 | 8958.6876
132 |  | Div-06 | 3 (2 X 6) Wooden Post | 2443.35 | 5% | 2565.5175 | LF | 0.038 | 97.4897 | 50 | 4874.4833 | 1.9 | 4874.4833 | 9748.9665
133 |  | Div-06 | 4 (2 X 6) Wooden Post | 588.44 | 5% | 617.862 | LF | 0.038 | 23.4788 | 50 | 1173.9378 | 1.9 | 1173.9378 | 2347.8756
Wooden Beam
134 |  | Div-06 | (2 X 6) Ledger | 25.09 | 5% | 26.3445 | LF | 0.038 | 1.0011 | 50 | 50.0545 | 1.9 | 50.0545 | 100.1091
135 |  | Div-06 | (3-1/2" X 11-7/8") PSL Beam | 108.01 | 5% | 113.4105 | LF | 0.10425 | 11.823 | 50 | 591.1522 | 34.75 | 3941.0149 | 4532.1671
136 |  | Div-06 | (3-1/2" X 9-1/2") PSL Beam | 3.94 | 5% | 4.137 | LF | 0.0834 | 0.34503 | 50 | 17.2513 | 27.8 | 115.0086 | 132.2599
137 |  | Div-06 | (5-1/4" X 11-7/8") PSL Beam | 116.6 | 5% | 122.43 | LF | 0.15638 | 19.145 | 50 | 957.2496 | 52.125 | 6381.6637 | 7338.9133
138 |  | Div-06 | (5-1/4" X 16") PSL Beam | 25.17 | 5% | 26.4285 | LF | 0.21069 | 5.5683 | 50 | 278.4173 | 70.2316 | 1856.1153 | 2134.5326
139 |  | Div-06 | (5-1/4" X 9-1/2") PSL Beam | 6.51 | 5% | 6.8355 | LF | 0.1251 | 0.85512 | 50 | 42.7561 | 41.7 | 285.0403 | 327.7964
140 |  | Div-06 | (7" X 11-7/8") PSL Beam | 46.49 | 5% | 48.8145 | LF | 0.2085 | 10.1778 | 50 | 508.8912 | 69.5 | 3392.6078 | 3901.4989
141 |  | Div-06 | (7" X 16") PSL Beam | 50.31 | 5% | 52.8255 | LF | 0.28093 | 14.8401 | 50 | 742.0037 | 93.6421 | 4946.691 | 5688.6947
142 |  | Div-06 | (5-1/8" X 13-1/2") GL Beam | 27.99 | 5% | 29.3895 | LF | 0.082564 | 2.4265 | 50 | 121.3253 | 58.3419 | 1714.639 | 1835.9643
143 |  | Div-06 | (6-3/4" X 13-1/2") GL Beam | 176.37 | 5% | 185.1885 | LF | 0.18577 | 34.4022 | 50 | 1720.108 | 76.8405 | 14229.9844 | 15950.0925
144 |  | Div-06 | (6-3/4" X 15") GL Beam | 61.3 | 5% | 64.365 | LF | 0.20641 | 13.2855 | 50 | 664.2766 | 85.3784 | 5495.3793 | 6159.6559
145 |  | Div-06 | (8-1/2" X 21") GL 24 fEX Beam | 106.56 | 5% | 111.888 | LF | 0.36389 | 40.7151 | 50 | 2035.7568 | 105.3632 | 11788.8826 | 13824.6394
146 |  | Div-06 | 2 (2 X 10) Beam | 140.8 | 5% | 147.84 | LF | 0.044 | 6.505 | 50 | 325.248 | 2.85 | 421.344 | 746.592
147 |  | Div-06 | 2 (2 X 6) Beam | 188.82 | 5% | 198.261 | LF | 0.038 | 7.5339 | 50 | 376.6959 | 1.9 | 376.6959 | 753.3918
148 |  | Div-06 | 2 Ply (1-3/4" X 11-7/8") ML Beam | 153.16 | 5% | 160.818 | LF | 0.065 | 10.4532 | 50 | 522.6585 | 7.5641 | 1216.442 | 1739.1005
149 |  | Div-06 | 3 (2 X 10) Header | 137.79 | 5% | 144.6795 | LF | 0.044 | 6.3659 | 50 | 318.2949 | 2.85 | 412.3366 | 730.6315
150 |  | Div-06 | 4 (2 X 4) Beam | 240.48 | 5% | 252.504 | LF | 0.036 | 9.0901 | 50 | 454.5072 | 1.35 | 340.8804 | 795.3876
151 |  | Div-06 | (6-3/4" X 13-1/2") GL 24fEX Curved Beam | 953.32 | 5% | 1000.986 | LF | 0.18577 | 185.9515 | 50 | 9297.5754 | 53.7884 | 53841.4137 | 63138.9891
Floor/ Ceiling Joist
152 |  | Div-06 | (2 X 4) Joist @ 12" O.C | 645.3 | 5% | 677.565 | LF | 0.036 | 24.3923 | 50 | 1219.617 | 1.35 | 914.7128 | 2134.3297
153 |  | Div-06 | (2 X 8") Joist @ 16" O.C | 151.0075 | 5% | 158.5579 | LF | 0.042 | 6.6594 | 50 | 332.9716 | 1.88 | 298.0888 | 631.0604
154 |  | Div-06 | (2 X 10) Joist @ 16" O.C | 859.7744 | 5% | 902.7632 | LF | 0.044 | 39.7216 | 50 | 1986.0789 | 2.85 | 2572.875 | 4558.9539
155 |  | Div-06 | 11-7/8" TJI 230 Floor Joist @ 16" O.C | 2620.1053 | 5% | 2751.1105 | LF | 0.038 | 104.5422 | 50 | 5227.11 | 4.0042 | 11015.9051 | 16243.0151
156 |  | Div-06 | 11-7/8" TJI 560 Floor Joist @ 12" O.C | 401.3459 | 5% | 421.4132 | LF | 0.038 | 16.0137 | 50 | 800.685 | 4.0042 | 1687.4085 | 2488.0935
Plywood Sheathing
157 |  | Div-06 | 1/2" Plywood @ Floor/ Roof | 5975 | 5% | 6273.75 | SF | 0.025 | 156.8438 | 50 | 7842.1875 | 1.22 | 7653.975 | 15496.1625
158 |  | Div-06 | 1/2" Plywood @ Exterior Wall | 8172.283 | 5% | 8580.8972 | SF | 0.025 | 214.5224 | 50 | 10726.1214 | 1.22 | 10468.6945 | 21194.816
159 |  | Div-06 | 5/8" Plywood | 397.23 | 5% | 417.0915 | SF | 0.025 | 10.4273 | 50 | 521.3644 | 1.625 | 677.7737 | 1199.1381
160 |  | Div-06 | 1-1/2" T&G D Fir Decking | 7370.74 | 5% | 7739.277 | SF | 0.025 | 193.4819 | 50 | 9674.0963 | 4.697 | 36351.1495 | 46025.2458
Wood Decking
161 |  | Div-06 | Exterior Wood Decking @ Balcony | 225.23 | 5% | 236.4915 | LF | 0.025 | 5.9123 | 50 | 295.6144 | 3.4 | 804.0711 | 1099.6855
162 |  | Div-06 | Pool Decking | 278.79 | 5% | 292.7295 | LF | 0.025 | 7.3182 | 50 | 365.9119 | 3.4 | 995.2803 | 1361.1922
Slat Wall
163 |  | Div-06 | (7'-0" H) Wood Slat Screen Wall | 7.28 | 5% | 7.644 | LF | 1.05 | 8.0262 | 50 | 401.31 | 199.5 | 1524.978 | 1926.288
|  | Div-07 | Thermal & Moisture Protection | [11 empty] | 357162.6069
Roofing
164 |  | Div-07 | Standing Seam Metal Roofing | 7510.87 | 5% | 7886.4135 | SF | 0.08 | 630.9131 | 58 | 36592.9586 | 4.2 | 33122.9367 | 69715.8953
165 |  | Div-07 | Breathable Underlayment Slip Sheat (SRP Air Sheild) | 7999 | 5% | 8398.95 | SF | 0.08 | 671.916 | 58 | 38971.128 | 0.21522 | 1807.6407 | 40778.7687
166 |  | Div-07 | 1/2" Protection/ Roof Board | 7999 | 5% | 8398.95 | SF | 0.05 | 419.9475 | 58 | 24356.955 | 0.7 | 5879.265 | 30236.22
167 |  | Div-07 | 3 Layer- 2" Extruded Polystyrene XPS Insulation | 23997 | 5% | 25196.85 | SF | 0.02 | 503.937 | 58 | 29228.346 | 2.1 | 52913.385 | 82141.731
168 |  | Div-07 | Vapor Impermeable Self Adhered Membrane SAM | 7999 | 5% | 8398.95 | SF | 0.03 | 251.9685 | 58 | 14614.173 | 0.44 | 3695.538 | 18309.711
169 |  | Div-07 | 2 Ply Bituminous Roofing Membrane | 488.02 | 5% | 512.421 | SF | 0.028 | 14.3478 | 58 | 832.1717 | 0.89 | 456.0547 | 1288.2264
170 |  | Div-07 | Scupper | 2 | 0% | 2 | EA | 2.25 | 4.5 | 58 | 261 | 362 | 724 | 985
171 |  | Div-07 | (9" H) Wood Fascia | 657.28 | 5% | 690.144 | LF | 0.036 | 24.8452 | 58 | 1441.0207 | 5.6618 | 3907.4698 | 5348.4905
172 |  | Div-07 | (8" H) Aluminum Fascia | 57.28 | 5% | 60.144 | LF | 0.035 | 2.105 | 58 | 122.0923 | 5.22 | 313.9517 | 436.044
173 |  | Div-07 | (12" H) Aluminum Fascia | 180.55 | 5% | 189.5775 | LF | 0.04 | 7.5831 | 58 | 439.8198 | 7.23 | 1370.6453 | 1810.4651
174 |  | Div-07 | (7" H) Wood Fascia | 68.85 | 5% | 72.2925 | LF | 0.033 | 2.3857 | 58 | 138.3678 | 4.4036 | 318.3499 | 456.7177
175 |  | Div-07 | (4" H) Wood Fascia | 68.85 | 5% | 72.2925 | LF | 0.03 | 2.1688 | 58 | 125.7889 | 2.5164 | 181.9142 | 307.7032
176 |  | Div-07 | (12" Wide) Metal Coping | 68.85 | 5% | 72.2925 | LF | 0.15 | 10.8439 | 58 | 628.9447 | 11.32 | 818.3511 | 1447.2958
177 |  | Div-07 | (3" Dia) Drain Pipe | 400.94 | 5% | 420.987 | LF | 0.155 | 65.253 | 58 | 3784.6731 | 3.65 | 1536.6026 | 5321.2757
178 |  | Div-07 | 8" Gutter | 202.17 | 5% | 212.2785 | LF | 0.05 | 10.6139 | 58 | 615.6077 | 8.23 | 1747.0521 | 2362.6597
179 |  | Div-07 | Drip Edge Flashing | 307 | 5% | 322.35 | LF | 0.03 | 9.6705 | 58 | 560.889 | 2.6 | 838.11 | 1398.999
Exterior Finishes
180 |  | Div-07 | Stucco & Cement Plaster Base | 7755 | 5% | 8142.75 | SF | 0.06 | 488.565 | 58 | 28336.77 | 2.2 | 17914.05 | 46250.82
181 |  | Div-07 | Silva Panel | 372.92 | 5% | 391.566 | SF | 0.055 | 21.5361 | 58 | 1249.0955 | 3.55 | 1390.0593 | 2639.1548
182 |  | Div-07 | (6" X 6") Moroccan Tile | 44.7 | 5% | 46.935 | SF | 0.15 | 7.0403 | 58 | 408.3345 | 45.96 | 2157.1326 | 2565.4671
183 |  | Div-07 | Keene 10mm DriwallTM Rainscreen | 8172.283 | 5% | 8580.8972 | SF | 0.01 | 85.809 | 58 | 4976.9203 | 0.8195 | 7032.0452 | 12008.9656
184 |  | Div-07 | Vapor Permeabale Air Barrier | 8172.283 | 5% | 8580.8972 | SF | 0.008 | 68.6472 | 58 | 3981.5363 | 0.36 | 3089.123 | 7070.6593
Insulation
185 |  | Div-07 | 1-1/2" Continuous Outboard Mineral Wood Insulation | 8172.283 | 5% | 8580.8972 | SF | 0.02 | 171.6179 | 58 | 9953.8407 | 1.15 | 9868.0317 | 19821.8724
186 |  | Div-07 | 2" Polyiso Insulation | 840 | 5% | 882 | SF | 0.02 | 17.64 | 58 | 1023.12 | 1.28 | 1128.96 | 2152.08
Sealant
187 |  | Div-07 | Sealant for Doors | 2790.6 | 5% | 2930.13 | LF | 0.006 | 17.5808 | 58 | 1019.6852 | 0.1 | 293.013 | 1312.6982
188 |  | Div-07 | Sealant for Windows | 2116.68 | 5% | 2222.514 | LF | 0.006 | 13.3351 | 58 | 773.4349 | 0.1 | 222.2514 | 995.6863
|  | Div-08 | Openings | [11 empty] | 202453.3232
Doors (Clear VG Fir Frame + Panel Wood Doors)
189 |  | Div-08 | (10'-2" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 13.6169 | 13.6169 | 52 | 708.0797 | 2269.4864 | 2269.4864 | 2977.5661
190 |  | Div-08 | (13'-10" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 18.5174 | 18.5174 | 52 | 962.9049 | 3086.2337 | 3086.2337 | 4049.1385
191 |  | Div-08 | (14'-4" X 6'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 16.7364 | 16.7364 | 52 | 870.2947 | 2789.4062 | 2789.4062 | 3659.7009
192 |  | Div-08 | (16'-0" X 8'-0") Overhead Garage Door | 2 | 0% | 2 | EA | 20.064 | 40.128 | 52 | 2086.656 | 3648 | 7296 | 9382.656
193 |  | Div-08 | (2'-0" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 2.6779 | 5.3557 | 52 | 278.4974 | 446.31 | 892.62 | 1171.1174
194 |  | Div-08 | (20'-6" X 8'-0") Door W/ Frame | 1 | 0% | 1 | EA | 28.044 | 28.044 | 52 | 1458.288 | 4674 | 4674 | 6132.288
195 |  | Div-08 | (2'-10" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 3.7892 | 7.5783 | 52 | 394.0739 | 631.5286 | 1263.0573 | 1657.1312
196 |  | Div-08 | (24'-2" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 29.6651 | 59.3302 | 52 | 3085.1714 | 5393.6564 | 10787.3127 | 13872.4841
197 |  | Div-08 | (25'-8" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 31.5061 | 31.5061 | 52 | 1638.3192 | 5728.3889 | 5728.3889 | 7366.7081
198 |  | Div-08 | (2'-6" X 6'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 2.9198 | 2.9198 | 52 | 151.8309 | 486.6375 | 486.6375 | 638.4684
199 |  | Div-08 | (2'-6" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 3.3473 | 6.6946 | 52 | 348.1218 | 557.8875 | 1115.775 | 1463.8968
200 |  | Div-08 | (2'-8" X 7'-10-1/2") Door W/ Frame | 15 | 0% | 15 | EA | 3.5749 | 53.6241 | 52 | 2788.4556 | 595.8238 | 8937.3577 | 11725.8134
201 |  | Div-08 | (3'-0" X 2'-8") Door W/ Frame | 1 | 0% | 1 | EA | 1.3697 | 1.3697 | 52 | 71.2249 | 228.285 | 228.285 | 299.5099
202 |  | Div-08 | (3'-0" X 6'-10-1/2") Door W/ Frame | 3 | 0% | 3 | EA | 3.5038 | 10.5114 | 52 | 546.5912 | 583.965 | 1751.895 | 2298.4862
203 |  | Div-08 | (3'-0" X 6'-8") Door W/ Frame | 2 | 0% | 2 | EA | 3.4217 | 6.8434 | 52 | 355.8578 | 570.285 | 1140.57 | 1496.4278
204 |  | Div-08 | (3'-0" X 7'-10-1/2") Door W/ Frame | 9 | 0% | 9 | EA | 4.0168 | 36.1511 | 52 | 1879.8577 | 669.465 | 6025.185 | 7905.0427
205 |  | Div-08 | (3'-3" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 4.3515 | 4.3515 | 52 | 226.2792 | 725.2538 | 725.2538 | 951.5329
206 |  | Div-08 | (3'-6" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 4.6863 | 9.3725 | 52 | 487.3705 | 781.0425 | 1562.085 | 2049.4555
207 |  | Div-08 | (3'-6" X 8'-0") Door W/ Frame | 3 | 0% | 3 | EA | 4.788 | 14.364 | 52 | 746.928 | 798 | 2394 | 3140.928
208 |  | Div-08 | (37'-2" X 9'-0") Door W/ Frame | 2 | 0% | 2 | EA | 38.1364 | 76.2728 | 52 | 3966.1877 | 9534.105 | 19068.21 | 23034.3977
209 |  | Div-08 | (4'-0" X 5'-0") Door W/ Frame | 3 | 0% | 3 | EA | 3.42 | 10.26 | 52 | 533.52 | 570 | 1710 | 2243.52
210 |  | Div-08 | (4'-0" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 5.3557 | 5.3557 | 52 | 278.4974 | 892.62 | 892.62 | 1171.1174
211 |  | Div-08 | (4'-0" X 8'-0") Door W/ Frame | 1 | 0% | 1 | EA | 5.472 | 5.472 | 52 | 284.544 | 912 | 912 | 1196.544
212 |  | Div-08 | (6'-0" X 7'-10-1/2") Door W/ Frame | 4 | 0% | 4 | EA | 8.0336 | 32.1343 | 52 | 1670.9846 | 1338.93 | 5355.72 | 7026.7046
213 |  | Div-08 | (8'-0" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 10.7114 | 10.7114 | 52 | 556.9949 | 1785.24 | 1785.24 | 2342.2349
214 |  | Div-08 | (8'-2" X 7'-10-1/2") Door W/ Frame | 1 | 0% | 1 | EA | 10.9391 | 10.9391 | 52 | 568.831 | 1823.1763 | 1823.1763 | 2392.0074
215 |  | Div-08 | (9'-0" X 7'-10-1/2") Door W/ Frame | 2 | 0% | 2 | EA | 12.0504 | 24.1007 | 52 | 1253.2385 | 2008.395 | 4016.79 | 5270.0285
Door Hardware
216 |  | Div-08 | Allowance for Door Hardware | 67 | 0% | 67 | EA | 2 | 134 | 52 | 6968 | 250 | 16750 | 23718
Skylight
217 |  | Div-08 | Skylight @ Bridge | 290 | 5% | 304.5 | SF | 0.35 | 106.575 | 52 | 5541.9 | 45.5 | 13854.75 | 19396.65
Windows
218 |  | Div-08 | (10'-6" X 7'-6") Raked Window | 1 | 0% | 1 | EA | 8.7413 | 8.7413 | 52 | 454.545 | 1456.875 | 1456.875 | 1911.42
219 |  | Div-08 | (11'-2" X 3'-5") Raked Window | 2 | 0% | 2 | EA | 4.2404 | 8.4807 | 52 | 440.997 | 706.7259 | 1413.4518 | 1854.4488
220 |  | Div-08 | (14'-4" X 3'-0") Raked Window | 1 | 0% | 1 | EA | 4.7719 | 4.7719 | 52 | 248.1383 | 795.315 | 795.315 | 1043.4533
221 |  | Div-08 | (15'-5" X 4'-1") Raked Window | 1 | 0% | 1 | EA | 6.9885 | 6.9885 | 52 | 363.4043 | 1164.7574 | 1164.7574 | 1528.1617
222 |  | Div-08 | (1'-6" X 6'-6") Window | 1 | 0% | 1 | EA | 1.443 | 1.443 | 52 | 75.036 | 180.375 | 180.375 | 255.411
223 |  | Div-08 | (1'-6" X 8'-0") Window | 5 | 0% | 5 | EA | 1.332 | 6.66 | 52 | 346.32 | 222 | 1110 | 1456.32
224 |  | Div-08 | (19'-2" X 4'-1") Raked Window | 1 | 0% | 1 | EA | 8.6881 | 8.6881 | 52 | 451.7808 | 1448.0155 | 1448.0155 | 1899.7964
225 |  | Div-08 | (2'-0" X 2'-0") Window | 6 | 0% | 6 | EA | 0.5772 | 3.4632 | 52 | 180.0864 | 96.2 | 577.2 | 757.2864
226 |  | Div-08 | (24" Dia) Window | 1 | 0% | 1 | EA | 0.60414 | 0.60414 | 52 | 31.4151 | 75.517 | 75.517 | 106.9321
227 |  | Div-08 | (2'-6" X 5'-0") Window | 3 | 0% | 3 | EA | 1.3875 | 4.1625 | 52 | 216.45 | 231.25 | 693.75 | 910.2
228 |  | Div-08 | (2'-6" X 7'-6") Window | 1 | 0% | 1 | EA | 2.0812 | 2.0812 | 52 | 108.225 | 346.875 | 346.875 | 455.1
229 |  | Div-08 | (2'-6" X 8'-0") Window | 2 | 0% | 2 | EA | 2.22 | 4.44 | 52 | 230.88 | 370 | 740 | 970.88
230 |  | Div-08 | (3'-2" X 8'-0") Window | 1 | 0% | 1 | EA | 2.815 | 2.815 | 52 | 146.3779 | 469.16 | 469.16 | 615.5379
231 |  | Div-08 | (3'-6" X 2'-6") Window | 1 | 0% | 1 | EA | 1.295 | 1.295 | 52 | 67.34 | 161.875 | 161.875 | 229.215
232 |  | Div-08 | (4'-0" X 8'-0") Window | 1 | 0% | 1 | EA | 3.552 | 3.552 | 52 | 184.704 | 592 | 592 | 776.704
233 |  | Div-08 | (4'-6" X 8'-0") Window | 2 | 0% | 2 | EA | 3.996 | 7.992 | 52 | 415.584 | 666 | 1332 | 1747.584
234 |  | Div-08 | (5'-0" X 5'-0") Window | 2 | 0% | 2 | EA | 2.775 | 5.55 | 52 | 288.6 | 462.5 | 925 | 1213.6
235 |  | Div-08 | (5'-0" X 8'-0") Window | 1 | 0% | 1 | EA | 4.44 | 4.44 | 52 | 230.88 | 740 | 740 | 970.88
236 |  | Div-08 | (5'-3" X 8'-0") Raked Window | 1 | 0% | 1 | EA | 4.662 | 4.662 | 52 | 242.424 | 777 | 777 | 1019.424
237 |  | Div-08 | (6'-2" X 2'-0") Window | 1 | 0% | 1 | EA | 1.8263 | 1.8263 | 52 | 94.9686 | 228.29 | 228.29 | 323.2586
238 |  | Div-08 | (6'-2" X 5'-6") Window | 1 | 0% | 1 | EA | 3.7668 | 3.7668 | 52 | 195.8728 | 627.7975 | 627.7975 | 823.6703
239 |  | Div-08 | (6'-2" X 8'-0") Window | 1 | 0% | 1 | EA | 5.479 | 5.479 | 52 | 284.9059 | 913.16 | 913.16 | 1198.0659
240 |  | Div-08 | (6'-5" X 2'-8") Window | 8 | 0% | 8 | EA | 1.9027 | 15.2216 | 52 | 791.5213 | 317.1159 | 2536.9272 | 3328.4485
241 |  | Div-08 | (7'-3" X 14'-2") Raked Window | 1 | 0% | 1 | EA | 11.4033 | 11.4033 | 52 | 592.972 | 1900.5512 | 1900.5512 | 2493.5232
242 |  | Div-08 | (7'-3" X 9'-7") Window | 1 | 0% | 1 | EA | 7.7095 | 7.7095 | 52 | 400.8943 | 1284.9175 | 1284.9175 | 1685.8118
243 |  | Div-08 | (7'-8" X 2'-6") Window | 1 | 0% | 1 | EA | 2.1284 | 2.1284 | 52 | 110.6781 | 354.7375 | 354.7375 | 465.4156
244 |  | Div-08 | (8'-4" X 7'-2") Raked Window | 1 | 0% | 1 | EA | 6.6296 | 6.6296 | 52 | 344.739 | 1104.9329 | 1104.9329 | 1449.6719
245 |  | Div-08 | (9'-5" X 4'-1") Window | 1 | 0% | 1 | EA | 4.2693 | 4.2693 | 52 | 222.0019 | 711.5444 | 711.5444 | 933.5463
|  | Div-09 | Finishes | [11 empty] | 395802.1459
Stud Walls
|  |  | Exterior Wall W3 @ 7'-7" H | 8.12 |  |  | LF
246 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 1.9242 | 0% | 1.9242 | EA | 0.35 | 0.67347 | 47.5 | 31.9896 | 9.6 | 18.4722 | 50.4618
247 |  | Div-09 | (2 X 6) Wood Stud @ 8' H | 6.1053 | 0% | 6.1053 | EA | 0.032 | 0.19537 | 47.5 | 9.28 | 14.8 | 90.3579 | 99.6379
248 |  | Div-09 | (2 X 6) Top and Bottom Plate | 24.36 | 5% | 25.578 | LF | 0.04 | 1.0231 | 47.5 | 48.5982 | 1.85 | 47.3193 | 95.9175
249 |  | Div-09 | R20 Mineral Wool Batt Insulation | 61.574 | 5% | 64.6527 | SF | 0.013 | 0.84048 | 47.5 | 39.923 | 0.94 | 60.7735 | 100.6965
250 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 16.24 | 5% | 17.052 | LF | 0.007 | 0.11936 | 47.5 | 5.6698 | 0.15 | 2.5578 | 8.2276
|  |  | Exterior Wall W3 @ 7'-7" H (Painted) 1GB | 19.93 |  |  | LF
251 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 4.7228 | 0% | 4.7228 | EA | 0.35 | 1.653 | 47.5 | 78.5163 | 11 | 51.9507 | 130.467
252 |  | Div-09 | (2 X 6) Wood Stud @ 8' H | 14.985 | 0% | 14.985 | EA | 0.032 | 0.19537 | 47.5 | 9.28 | 14.8 | 90.3579 | 99.6379
253 |  | Div-09 | (2 X 6) Top and Bottom Plate | 59.79 | 5% | 62.7795 | LF | 0.04 | 2.5112 | 47.5 | 119.281 | 1.85 | 116.1421 | 235.4231
254 |  | Div-09 | R20 Mineral Wool Batt Insulation | 151.1292 | 5% | 158.6856 | SF | 0.013 | 2.0629 | 47.5 | 97.9884 | 0.94 | 149.1645 | 247.1529
255 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 39.86 | 5% | 41.853 | LF | 0.007 | 0.29297 | 47.5 | 13.9161 | 0.15 | 6.2779 | 20.1941
|  |  | Exterior Wall W3 @ 8'-0" H (Painted) | 23.83 |  |  | LF
256 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 5.9575 | 0% | 5.9575 | EA | 0.35 | 2.0851 | 47.5 | 99.0434 | 9.6 | 57.192 | 156.2354
257 |  | Div-09 | (2 X 6) Wood Stud @ 8' H | 17.9173 | 0% | 17.9173 | EA | 0.032 | 0.19537 | 47.5 | 9.28 | 14.8 | 90.3579 | 99.6379
258 |  | Div-09 | (2 X 6) Top and Bottom Plate | 71.49 | 5% | 75.0645 | LF | 0.04 | 3.0026 | 47.5 | 142.6225 | 1.85 | 138.8693 | 281.4919
259 |  | Div-09 | R20 Mineral Wool Batt Insulation | 190.64 | 5% | 200.172 | SF | 0.013 | 2.6022 | 47.5 | 123.6062 | 0.94 | 188.1617 | 311.7679
260 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 47.66 | 5% | 50.043 | LF | 0.007 | 0.3503 | 47.5 | 16.6393 | 0.15 | 7.5064 | 24.1457
|  |  | Exterior Wall W3 @ 8'-11" H (Painted) | 52.15 |  |  | LF
261 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 14.5314 | 0% | 14.5314 | EA | 0.35 | 5.086 | 47.5 | 241.5851 | 9.6 | 139.5018 | 381.0869
262 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 39.2105 | 0% | 39.2105 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
263 |  | Div-09 | (2 X 6) Top and Bottom Plate | 156.45 | 5% | 164.2725 | LF | 0.04 | 6.5709 | 47.5 | 312.1178 | 1.85 | 303.9041 | 616.0219
264 |  | Div-09 | R20 Mineral Wool Batt Insulation | 465.0059 | 5% | 488.2562 | SF | 0.013 | 6.3473 | 47.5 | 301.4982 | 0.94 | 458.9608 | 760.459
265 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 104.3 | 5% | 109.515 | LF | 0.007 | 0.7666 | 47.5 | 36.4137 | 0.15 | 16.4273 | 52.841
|  |  | Exterior Wall W3 @ 8'-11" H (Painted) 1GB | 49.75 |  |  | LF
266 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 13.8627 | 0% | 13.8627 | EA | 0.35 | 4.8519 | 47.5 | 230.4671 | 11 | 152.4895 | 382.9566
267 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 37.406 | 0% | 37.406 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
268 |  | Div-09 | (2 X 6) Top and Bottom Plate | 149.25 | 5% | 156.7125 | LF | 0.04 | 6.2685 | 47.5 | 297.7538 | 1.85 | 289.9181 | 587.6719
269 |  | Div-09 | R20 Mineral Wool Batt Insulation | 443.6058 | 5% | 465.7861 | SF | 0.013 | 6.0552 | 47.5 | 287.6229 | 0.94 | 437.8389 | 725.4619
270 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 99.5 | 5% | 104.475 | LF | 0.007 | 0.73133 | 47.5 | 34.7379 | 0.15 | 15.6713 | 50.4092
|  |  | Exterior Wall W3 @ 8'-8" H (Painted) | 74.27 |  |  | LF
271 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 20.1225 | 0% | 20.1225 | EA | 0.35 | 7.0429 | 47.5 | 334.537 | 9.6 | 193.1763 | 527.7133
272 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 55.8421 | 0% | 55.8421 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
273 |  | Div-09 | (2 X 6) Top and Bottom Plate | 222.81 | 5% | 233.9505 | LF | 0.04 | 9.358 | 47.5 | 444.5059 | 1.85 | 432.8084 | 877.3144
274 |  | Div-09 | R20 Mineral Wool Batt Insulation | 643.9209 | 5% | 676.1169 | SF | 0.013 | 8.7895 | 47.5 | 417.5022 | 0.94 | 635.5499 | 1053.0521
275 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 148.54 | 5% | 155.967 | LF | 0.007 | 1.0918 | 47.5 | 51.859 | 0.15 | 23.395 | 75.2541
|  |  | Exterior Wall W3 @ 8'-8" H (Painted) 1GB | 10.46 |  |  | LF
276 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 2.834 | 0% | 2.834 | EA | 0.35 | 0.9919 | 47.5 | 47.1154 | 11 | 31.1741 | 78.2894
277 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 7.8647 | 0% | 7.8647 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
278 |  | Div-09 | (2 X 6) Top and Bottom Plate | 31.38 | 5% | 32.949 | LF | 0.04 | 1.318 | 47.5 | 62.6031 | 1.85 | 60.9557 | 123.5588
279 |  | Div-09 | R20 Mineral Wool Batt Insulation | 90.6882 | 5% | 95.2226 | SF | 0.013 | 1.2379 | 47.5 | 58.8 | 0.94 | 89.5093 | 148.3092
280 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 20.92 | 5% | 21.966 | LF | 0.007 | 0.15376 | 47.5 | 7.3037 | 0.15 | 3.2949 | 10.5986
|  |  | Exterior Wall W3 @ 9'-11" H (Painted) | 22.56 |  |  | LF
281 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 6.9913 | 0% | 6.9913 | EA | 0.35 | 2.4469 | 47.5 | 116.2299 | 9.6 | 67.1162 | 183.3461
282 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 16.9624 | 0% | 16.9624 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
283 |  | Div-09 | (2 X 6) Top and Bottom Plate | 67.68 | 5% | 71.064 | LF | 0.04 | 2.8426 | 47.5 | 135.0216 | 1.85 | 131.4684 | 266.49
284 |  | Div-09 | R20 Mineral Wool Batt Insulation | 223.7208 | 5% | 234.9068 | SF | 0.013 | 3.0538 | 47.5 | 145.0549 | 0.94 | 220.8124 | 365.8673
285 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 45.12 | 5% | 47.376 | LF | 0.007 | 0.33163 | 47.5 | 15.7525 | 0.15 | 7.1064 | 22.8589
|  |  | Exterior Wall W3 @ 9'-4" H (Painted) 1GB | 33.44 |  |  | LF
286 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 10.363 | 0% | 10.363 | EA | 0.35 | 3.627 | 47.5 | 172.2841 | 11 | 113.9925 | 286.2765
287 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 25.1429 | 0% | 25.1429 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
288 |  | Div-09 | (2 X 6) Top and Bottom Plate | 100.32 | 5% | 105.336 | LF | 0.04 | 4.2134 | 47.5 | 200.1384 | 1.85 | 194.8716 | 395.01
289 |  | Div-09 | R20 Mineral Wool Batt Insulation | 331.6144 | 5% | 348.1952 | SF | 0.013 | 4.5265 | 47.5 | 215.0105 | 0.94 | 327.3035 | 542.314
290 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 66.88 | 5% | 70.224 | LF | 0.007 | 0.49157 | 47.5 | 23.3495 | 0.15 | 10.5336 | 33.8831
|  |  | Exterior Wall W3 @ 9'-6" H (Painted) | 243.24 |  |  | LF
291 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 72.2119 | 0% | 72.2119 | EA | 0.35 | 25.2742 | 47.5 | 1200.5224 | 9.6 | 693.234 | 1893.7564
292 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 182.8872 | 0% | 182.8872 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
293 |  | Div-09 | (2 X 6) Top and Bottom Plate | 729.72 | 5% | 766.206 | LF | 0.04 | 30.6482 | 47.5 | 1455.7914 | 1.85 | 1417.4811 | 2873.2725
294 |  | Div-09 | R20 Mineral Wool Batt Insulation | 2310.78 | 5% | 2426.319 | SF | 0.013 | 31.5421 | 47.5 | 1498.252 | 0.94 | 2280.7399 | 3778.9918
295 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 486.48 | 5% | 510.804 | LF | 0.007 | 3.5756 | 47.5 | 169.8423 | 0.15 | 76.6206 | 246.4629
|  |  | Exterior Wall W3 @ 9'-6" H (Painted) 1GB | 115.42 |  |  | LF
296 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 34.2653 | 0% | 34.2653 | EA | 0.35 | 11.9929 | 47.5 | 569.6608 | 11 | 376.9184 | 946.5793
297 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 86.782 | 0% | 86.782 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
298 |  | Div-09 | (2 X 6) Top and Bottom Plate | 346.26 | 5% | 363.573 | LF | 0.04 | 14.5429 | 47.5 | 690.7887 | 1.85 | 672.6101 | 1363.3987
299 |  | Div-09 | R20 Mineral Wool Batt Insulation | 1096.49 | 5% | 1151.3145 | SF | 0.013 | 14.9671 | 47.5 | 710.9367 | 0.94 | 1082.2356 | 1793.1723
300 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 230.84 | 5% | 242.382 | LF | 0.007 | 1.6967 | 47.5 | 80.592 | 0.15 | 36.3573 | 116.9493
|  |  | Exterior Wall W3 @ 11'-0" H (Painted) | 45.49 |  |  | LF
301 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 15.6372 | 0% | 15.6372 | EA | 0.35 | 5.473 | 47.5 | 259.9682 | 9.6 | 150.117 | 410.0852
302 |  | Div-09 | (2 X 6) Wood Stud @ 12' H | 34.203 | 0% | 34.203 | EA | 0.042 | 1.4365 | 47.5 | 68.235 | 22.2 | 759.3068 | 827.5418
303 |  | Div-09 | (2 X 6) Top and Bottom Plate | 136.47 | 5% | 143.2935 | LF | 0.04 | 5.7317 | 47.5 | 272.2577 | 1.85 | 265.093 | 537.3506
304 |  | Div-09 | R20 Mineral Wool Batt Insulation | 500.39 | 5% | 525.4095 | SF | 0.013 | 6.8303 | 47.5 | 324.4404 | 0.94 | 493.8849 | 818.3253
305 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 90.98 | 5% | 95.529 | LF | 0.007 | 0.6687 | 47.5 | 31.7634 | 0.15 | 14.3294 | 46.0927
|  |  | Exterior Wall W3 @ 11'-2" H (Painted) | 33.13 |  |  | LF
306 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 11.5613 | 0% | 11.5613 | EA | 0.35 | 4.0465 | 47.5 | 192.2072 | 9.6 | 110.9888 | 303.196
307 |  | Div-09 | (2 X 6) Wood Stud @ 12' H | 24.9098 | 0% | 24.9098 | EA | 0.042 | 1.0462 | 47.5 | 49.695 | 22.2 | 552.997 | 602.692
308 |  | Div-09 | (2 X 6) Top and Bottom Plate | 99.39 | 5% | 104.3595 | LF | 0.04 | 4.1744 | 47.5 | 198.2831 | 1.85 | 193.0651 | 391.3481
309 |  | Div-09 | R20 Mineral Wool Batt Insulation | 369.9627 | 5% | 388.4608 | SF | 0.013 | 5.05 | 47.5 | 239.8746 | 0.94 | 365.1532 | 605.0278
310 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 66.26 | 5% | 69.573 | LF | 0.007 | 0.48701 | 47.5 | 23.133 | 0.15 | 10.436 | 33.569
|  |  | Exterior Wall W3 @ 11'-4" H (Painted) | 59.84 |  |  | LF
311 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 21.1871 | 0% | 21.1871 | EA | 0.35 | 7.4155 | 47.5 | 352.2355 | 9.6 | 203.3962 | 555.6317
312 |  | Div-09 | (2 X 6) Wood Stud @ 12' H | 44.9925 | 0% | 44.9925 | EA | 0.042 | 1.8897 | 47.5 | 89.76 | 22.2 | 998.8331 | 1088.5931
313 |  | Div-09 | (2 X 6) Top and Bottom Plate | 179.52 | 5% | 188.496 | LF | 0.04 | 7.5398 | 47.5 | 358.1424 | 1.85 | 348.7176 | 706.86
314 |  | Div-09 | R20 Mineral Wool Batt Insulation | 677.9872 | 5% | 711.8866 | SF | 0.013 | 9.2545 | 47.5 | 439.59 | 0.94 | 669.1734 | 1108.7633
315 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 119.68 | 5% | 125.664 | LF | 0.007 | 0.87965 | 47.5 | 41.7833 | 0.15 | 18.8496 | 60.6329
|  |  | Exterior Wall W3 @ 11'-4" H (Painted) 1GB | 13.21 |  |  | LF
316 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 4.6772 | 0% | 4.6772 | EA | 0.35 | 1.637 | 47.5 | 77.7579 | 11 | 51.4488 | 129.2067
317 |  | Div-09 | (2 X 6) Wood Stud @ 12' H | 9.9323 | 0% | 9.9323 | EA | 0.042 | 0.41716 | 47.5 | 19.815 | 22.2 | 220.4977 | 240.3127
318 |  | Div-09 | (2 X 6) Top and Bottom Plate | 39.63 | 5% | 41.6115 | LF | 0.04 | 1.6645 | 47.5 | 79.0619 | 1.85 | 76.9813 | 156.0431
319 |  | Div-09 | R20 Mineral Wool Batt Insulation | 149.6693 | 5% | 157.1528 | SF | 0.013 | 2.043 | 47.5 | 97.0418 | 0.94 | 147.7236 | 244.7654
320 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 26.42 | 5% | 27.741 | LF | 0.007 | 0.19419 | 47.5 | 9.2239 | 0.15 | 4.1612 | 13.385
|  |  | Exterior Wall W3 @ 11'-5" H (Painted) | 32.65 |  |  | LF
321 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 11.6486 | 0% | 11.6486 | EA | 0.35 | 4.077 | 47.5 | 193.658 | 9.6 | 111.8266 | 305.4846
322 |  | Div-09 | (2 X 6) Wood Stud @ 12' H | 24.5489 | 0% | 24.5489 | EA | 0.042 | 1.0311 | 47.5 | 48.975 | 22.2 | 544.985 | 593.96
323 |  | Div-09 | (2 X 6) Top and Bottom Plate | 97.95 | 5% | 102.8475 | LF | 0.04 | 4.1139 | 47.5 | 195.4103 | 1.85 | 190.2679 | 385.6781
324 |  | Div-09 | R20 Mineral Wool Batt Insulation | 372.7553 | 5% | 391.393 | SF | 0.013 | 5.0881 | 47.5 | 241.6852 | 0.94 | 367.9094 | 609.5946
325 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 65.3 | 5% | 68.565 | LF | 0.007 | 0.47996 | 47.5 | 22.7979 | 0.15 | 10.2847 | 33.0826
|  |  | Exterior Wall W3B @ 9'-6" H (Painted) 1GB | 11.66 |  |  | LF
326 |  | Div-09 | (2 X 6) Wood Stud @ 10' H | 8.7669 | 0% | 8.7669 | EA | 0.032 | 1.2547 | 47.5 | 59.6 | 18.5 | 725.3947 | 784.9947
327 |  | Div-09 | (2 X 6) Top and Bottom Plate | 34.98 | 5% | 36.729 | LF | 0.04 | 1.4692 | 47.5 | 69.7851 | 1.85 | 67.9487 | 137.7338
328 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 23.32 | 5% | 24.486 | LF | 0.007 | 0.1714 | 47.5 | 8.1416 | 0.15 | 3.6729 | 11.8145
|  |  | Interior Wall W2 @ 9'-6" H (Painted) | 106.81 |  |  | LF
329 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 31.7092 | 0% | 31.7092 | EA | 0.35 | 11.0982 | 47.5 | 527.1658 | 9.6 | 304.4085 | 831.5743
330 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 80.3083 | 0% | 80.3083 | EA | 0.42 | 33.7295 | 47.5 | 1602.15 | 15.5 | 1244.7782 | 2846.9282
331 |  | Div-09 | (2 X 4) Top and Bottom Plate | 320.43 | 5% | 336.4515 | LF | 0.035 | 11.7758 | 47.5 | 559.3506 | 1.55 | 521.4998 | 1080.8504
332 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 213.62 | 5% | 224.301 | LF | 0.007 | 1.5701 | 47.5 | 74.5801 | 0.15 | 33.6452 | 108.2252
|  |  | Interior Wall W8 @ 8'-8" H (Painted) | 68.58 |  |  | LF
333 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 37.1618 | 0% | 37.1618 | EA | 0.35 | 13.0066 | 47.5 | 617.8147 | 9.6 | 356.7532 | 974.5679
334 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 51.5639 | 0% | 51.5639 | EA | 0.42 | 21.6568 | 47.5 | 1028.7 | 15.5 | 799.2406 | 1827.9406
335 |  | Div-09 | (2 X 4) Top and Bottom Plate | 205.74 | 5% | 216.027 | LF | 0.035 | 7.5609 | 47.5 | 359.1449 | 1.55 | 334.8419 | 693.9867
336 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 274.32 | 5% | 288.036 | LF | 0.007 | 2.0163 | 47.5 | 95.772 | 0.15 | 43.2054 | 138.9774
|  |  | Interior Wall W8 @ 8'-8" H (Painted) 1GB | 38 |  |  | LF
337 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 10.2956 | 0% | 10.2956 | EA | 0.35 | 3.6035 | 47.5 | 171.1648 | 9.6 | 98.838 | 270.0028
338 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 10.2956 | 0% | 10.2956 | EA | 0.35 | 3.6035 | 47.5 | 171.1648 | 11 | 113.2519 | 284.4166
339 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 28.5714 | 0% | 28.5714 | EA | 0.42 | 12 | 47.5 | 570 | 15.5 | 442.8571 | 1012.8571
340 |  | Div-09 | (2 X 4) Top and Bottom Plate | 114 | 5% | 119.7 | LF | 0.035 | 4.1895 | 47.5 | 199.0013 | 1.55 | 185.535 | 384.5362
341 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 152 | 5% | 159.6 | LF | 0.007 | 1.1172 | 47.5 | 53.067 | 0.15 | 23.94 | 77.007
|  |  | Interior Wall W8 @ 8'-8" H (Painted) 2GB | 6.65 |  |  | LF
342 |  | Div-09 | (1) 1/2" Green Gypsum Board on both Side (4'X8' Ea.) | 3.6035 | 0% | 3.6035 | EA | 0.35 | 1.2612 | 47.5 | 59.9077 | 11 | 39.6382 | 99.5458
343 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 5 | 0% | 5 | EA | 0.42 | 2.1 | 47.5 | 99.75 | 15.5 | 77.5 | 177.25
344 |  | Div-09 | (2 X 4) Top and Bottom Plate | 19.95 | 5% | 20.9475 | LF | 0.035 | 0.73316 | 47.5 | 34.8252 | 1.55 | 32.4686 | 67.2938
345 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 26.6 | 5% | 27.93 | LF | 0.007 | 0.19551 | 47.5 | 9.2867 | 0.15 | 4.1895 | 13.4762
|  |  | Interior Wall W8 @ 8'-11" H (Painted) 1GB | 8.56 |  |  | LF
346 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 2.3852 | 0% | 2.3852 | EA | 0.35 | 0.83483 | 47.5 | 39.6542 | 9.6 | 22.8981 | 62.5523
347 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 2.3852 | 0% | 2.3852 | EA | 0.35 | 0.83483 | 47.5 | 39.6542 | 11 | 26.2374 | 65.8916
348 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 6.4361 | 0% | 6.4361 | EA | 0.42 | 2.7032 | 47.5 | 128.4 | 15.5 | 99.7594 | 228.1594
349 |  | Div-09 | (2 X 4) Top and Bottom Plate | 25.68 | 5% | 26.964 | LF | 0.035 | 0.94374 | 47.5 | 44.8277 | 1.55 | 41.7942 | 86.6219
350 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 34.24 | 5% | 35.952 | LF | 0.007 | 0.25166 | 47.5 | 11.954 | 0.15 | 5.3928 | 17.3468
|  |  | Interior Wall W8 @ 9'-4" H (Painted) | 19.82 |  |  | LF
351 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 11.5575 | 0% | 11.5575 | EA | 0.35 | 4.0451 | 47.5 | 192.1441 | 9.6 | 110.9524 | 303.0964
352 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 14.9023 | 0% | 14.9023 | EA | 0.42 | 6.2589 | 47.5 | 297.3 | 15.5 | 230.985 | 528.285
353 |  | Div-09 | (2 X 4) Top and Bottom Plate | 59.46 | 5% | 62.433 | LF | 0.035 | 2.1852 | 47.5 | 103.7949 | 1.55 | 96.7712 | 200.566
354 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 79.28 | 5% | 83.244 | LF | 0.007 | 0.58271 | 47.5 | 27.6786 | 0.15 | 12.4866 | 40.1652
|  |  | Interior Wall W8 @ 9'-6" H (Painted) | 27.49 |  |  | LF
355 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 8.1611 | 0% | 8.1611 | EA | 0.35 | 2.8564 | 47.5 | 135.6782 | 9.6 | 78.3465 | 214.0247
356 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 20.6692 | 0% | 20.6692 | EA | 0.42 | 8.6811 | 47.5 | 412.35 | 15.5 | 320.3722 | 732.7222
357 |  | Div-09 | (2 X 4) Top and Bottom Plate | 82.47 | 5% | 86.5935 | LF | 0.035 | 3.0308 | 47.5 | 143.9617 | 1.55 | 134.2199 | 278.1816
358 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 109.96 | 5% | 115.458 | LF | 0.007 | 0.80821 | 47.5 | 38.3898 | 0.15 | 17.3187 | 55.7085
|  |  | Interior Wall W8 @ 9'-6" H (Painted) | 27.49 |  |  | LF
359 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 8.1611 | 0% | 8.1611 | EA | 0.35 | 2.8564 | 47.5 | 135.6782 | 11 | 89.772 | 225.4502
360 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 20.6692 | 0% | 20.6692 | EA | 0.42 | 8.6811 | 47.5 | 412.35 | 15.5 | 320.3722 | 732.7222
361 |  | Div-09 | (2 X 4) Top and Bottom Plate | 82.47 | 5% | 86.5935 | LF | 0.035 | 3.0308 | 47.5 | 143.9617 | 1.55 | 134.2199 | 278.1816
362 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 109.96 | 5% | 115.458 | LF | 0.007 | 0.80821 | 47.5 | 38.3898 | 0.15 | 17.3187 | 55.7085
|  |  | Interior Wall W8 @ 9'-6" H (Painted) | 102.45 |  |  | LF
363 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 60.8297 | 0% | 60.8297 | EA | 0.35 | 21.2904 | 47.5 | 1011.2936 | 9.6 | 583.965 | 1595.2586
364 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 77.0301 | 0% | 77.0301 | EA | 0.42 | 32.3526 | 47.5 | 1536.75 | 15.5 | 1193.9662 | 2730.7162
365 |  | Div-09 | (2 X 4) Top and Bottom Plate | 307.35 | 5% | 322.7175 | LF | 0.035 | 11.2951 | 47.5 | 536.5178 | 1.55 | 500.2121 | 1036.73
366 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 409.8 | 5% | 430.29 | LF | 0.007 | 3.012 | 47.5 | 143.0714 | 0.15 | 64.5435 | 207.6149
|  |  | Interior Wall W8 @ 9'-6" H (Painted) | 58.68 |  |  | LF
367 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 17.4206 | 0% | 17.4206 | EA | 0.35 | 6.0972 | 47.5 | 289.6179 | 9.6 | 167.238 | 456.8559
368 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 17.4206 | 0% | 17.4206 | EA | 0.35 | 6.0972 | 47.5 | 289.6179 | 11 | 191.6269 | 481.2448
369 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 44.1203 | 0% | 44.1203 | EA | 0.42 | 18.5305 | 47.5 | 880.2 | 15.5 | 683.8647 | 1564.0647
370 |  | Div-09 | (2 X 4) Top and Bottom Plate | 176.04 | 5% | 184.842 | LF | 0.035 | 6.4695 | 47.5 | 307.2998 | 1.55 | 286.5051 | 593.8049
371 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 234.72 | 5% | 246.456 | LF | 0.007 | 1.7252 | 47.5 | 81.9466 | 0.15 | 36.9684 | 118.915
|  |  | Interior Wall W8 @ 9'-6" H (Painted) | 16.12 |  |  | LF
372 |  | Div-09 | (1) 1/2" Green Gypsum Board on both Side (4'X8' Ea.) | 9.5713 | 0% | 9.5713 | EA | 0.35 | 3.3499 | 47.5 | 159.122 | 11 | 105.2838 | 264.4058
373 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 12.1203 | 0% | 12.1203 | EA | 0.42 | 5.0905 | 47.5 | 241.8 | 15.5 | 187.8647 | 429.6647
374 |  | Div-09 | (2 X 4) Top and Bottom Plate | 48.36 | 5% | 50.778 | LF | 0.035 | 1.7772 | 47.5 | 84.4184 | 1.55 | 78.7059 | 163.1243
375 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 64.48 | 5% | 67.704 | LF | 0.007 | 0.47393 | 47.5 | 22.5116 | 0.15 | 10.1556 | 32.6672
|  |  | Interior Wall W8 @ 9'-9" H (Painted) | 15.68 |  |  | LF
376 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 9.31 | 0% | 9.31 | EA | 0.35 | 3.2585 | 47.5 | 154.7788 | 9.6 | 89.376 | 244.1548
377 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 11.7895 | 0% | 11.7895 | EA | 0.42 | 4.9516 | 47.5 | 235.2 | 15.5 | 182.7368 | 417.9368
378 |  | Div-09 | (2 X 4) Top and Bottom Plate | 47.04 | 5% | 49.392 | LF | 0.035 | 1.7287 | 47.5 | 82.1142 | 1.55 | 76.5576 | 158.6718
379 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 62.72 | 5% | 65.856 | LF | 0.007 | 0.46099 | 47.5 | 21.8971 | 0.15 | 9.8784 | 31.7755
|  |  | Interior Wall W8 @ 9'-6" H (Painted)1gb | 38.68 |  |  | LF
380 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 11.4831 | 0% | 11.4831 | EA | 0.35 | 4.0191 | 47.5 | 190.907 | 9.6 | 110.238 | 301.145
381 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 11.4831 | 0% | 11.4831 | EA | 0.35 | 4.0191 | 47.5 | 190.907 | 11 | 126.3144 | 317.2213
382 |  | Div-09 | (2 X 4) Wood Stud @ 10' H | 29.0827 | 0% | 29.0827 | EA | 0.42 | 12.2147 | 47.5 | 580.2 | 15.5 | 450.782 | 1030.982
383 |  | Div-09 | (2 X 4) Top and Bottom Plate | 116.04 | 5% | 121.842 | LF | 0.035 | 4.2645 | 47.5 | 202.5623 | 1.55 | 188.8551 | 391.4174
384 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 154.72 | 5% | 162.456 | LF | 0.007 | 1.1372 | 47.5 | 54.0166 | 0.15 | 24.3684 | 78.385
|  |  | Interior Wall W8 @ 11'-2" H (Painted) | 27.31 |  |  | LF
385 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 19.0607 | 0% | 19.0607 | EA | 0.35 | 6.6712 | 47.5 | 316.8837 | 9.6 | 182.9825 | 499.8662
386 |  | Div-09 | (2 X 4) Wood Stud @ 12' H | 20.5338 | 0% | 20.5338 | EA | 0.42 | 8.6242 | 47.5 | 409.65 | 18.6 | 381.9293 | 791.5793
387 |  | Div-09 | (2 X 4) Top and Bottom Plate | 81.93 | 5% | 86.0265 | LF | 0.035 | 3.0109 | 47.5 | 143.0191 | 1.55 | 133.3411 | 276.3601
388 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 109.24 | 5% | 114.702 | LF | 0.007 | 0.80291 | 47.5 | 38.1384 | 0.15 | 17.2053 | 55.3437
|  |  | Interior Wall W8 @ 11'-2" H (Painted) | 30.24 |  |  | LF
389 |  | Div-09 | (1) 1/2" Gypsum Board on both Side (4'X8' Ea.) | 21.5776 | 0% | 21.5776 | EA | 0.35 | 7.5521 | 47.5 | 358.727 | 9.6 | 207.1446 | 565.8716
390 |  | Div-09 | (2 X 4) Wood Stud @ 12' H | 22.7368 | 0% | 22.7368 | EA | 0.42 | 9.5495 | 47.5 | 453.6 | 18.6 | 422.9053 | 876.5053
391 |  | Div-09 | (2 X 4) Top and Bottom Plate | 90.72 | 5% | 95.256 | LF | 0.035 | 3.334 | 47.5 | 158.3631 | 1.55 | 147.6468 | 306.0099
392 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 120.96 | 5% | 127.008 | LF | 0.007 | 0.88906 | 47.5 | 42.2302 | 0.15 | 19.0512 | 61.2814
|  |  | Interior Wall W8 @ 12'-7" H (Painted) 1gb | 6.67 |  |  | LF
393 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 2.6228 | 0% | 2.6228 | EA | 0.35 | 0.91797 | 47.5 | 43.6035 | 9.6 | 25.1786 | 68.7821
394 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 2.6228 | 0% | 2.6228 | EA | 0.35 | 0.91797 | 47.5 | 43.6035 | 11 | 28.8505 | 72.454
395 |  | Div-09 | (2 X 4) Wood Stud @ 12' H | 5.015 | 0% | 5.015 | EA | 0.42 | 2.1063 | 47.5 | 100.05 | 18.6 | 93.2797 | 193.3297
396 |  | Div-09 | (2 X 4) Top and Bottom Plate | 20.01 | 5% | 21.0105 | LF | 0.035 | 0.73537 | 47.5 | 34.93 | 1.55 | 32.5663 | 67.4962
397 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 26.68 | 5% | 28.014 | LF | 0.007 | 0.1961 | 47.5 | 9.3147 | 0.15 | 4.2021 | 13.5168
|  |  | Interior Wall W8 @ 13'-0" H (Painted) 1gb | 18.54 |  |  | LF
398 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 7.5319 | 0% | 7.5319 | EA | 0.35 | 2.6362 | 47.5 | 125.2174 | 9.6 | 72.306 | 197.5234
399 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 7.5319 | 0% | 7.5319 | EA | 0.35 | 2.6362 | 47.5 | 125.2174 | 11 | 82.8506 | 208.068
400 |  | Div-09 | (2 X 4) Wood Stud @ 12' H | 13.9398 | 0% | 13.9398 | EA | 0.42 | 5.8547 | 47.5 | 278.1 | 18.6 | 259.2812 | 537.3812
401 |  | Div-09 | (2 X 4) Top and Bottom Plate | 55.62 | 5% | 58.401 | LF | 0.035 | 2.044 | 47.5 | 97.0917 | 1.55 | 90.5215 | 187.6132
402 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 74.16 | 5% | 77.868 | LF | 0.007 | 0.54508 | 47.5 | 25.8911 | 0.15 | 11.6802 | 37.5713
|  |  | Interior Wall W8 @ 13'-2" H (Painted) 1gb | 5.34 |  |  | LF
403 |  | Div-09 | (1) 1/2" Gypsum Board on one Side (4'X8' Ea.) | 2.1972 | 0% | 2.1972 | EA | 0.35 | 0.76904 | 47.5 | 36.5292 | 9.6 | 21.0935 | 57.6227
404 |  | Div-09 | (1) 1/2" Green Gypsum Board on one Side (4'X8' Ea.) | 2.1972 | 0% | 2.1972 | EA | 0.35 | 0.76904 | 47.5 | 36.5292 | 11 | 24.1697 | 60.6988
405 |  | Div-09 | (2 X 4) Wood Stud @ 12' H | 4.015 | 0% | 4.015 | EA | 0.42 | 1.6863 | 47.5 | 80.1 | 18.6 | 74.6797 | 154.7797
406 |  | Div-09 | (2 X 4) Top and Bottom Plate | 16.02 | 5% | 16.821 | LF | 0.035 | 0.58874 | 47.5 | 27.9649 | 1.55 | 26.0726 | 54.0375
407 |  | Div-09 | Acoustical Sealant at Top and Bottom on Both Sides | 21.36 | 5% | 22.428 | LF | 0.007 | 0.157 | 47.5 | 7.4573 | 0.15 | 3.3642 | 10.8215
14" Rammed Earth Wall
408 |  | Div-09 | (2) 5" Thk Rammed Earth Reinforced Wall | 660.35 | 5% | 693.3675 | SF | 0.35218 | 244.1913 | 47.5 | 11599.0846 | 25.0929 | 17398.6269 | 28997.7114
409 |  | Div-09 | 4" Extruded XPS Insulation | 660.35 | 5% | 693.3675 | SF | 0.012 | 8.3204 | 47.5 | 395.2195 | 1.97 | 1365.934 | 1761.1535
14" Rammed Earth Wall
410 |  | Div-09 | 14" Thk Rammed Earth Reinforced Wall | 110.085 | 5% | 115.5893 | SF | 0.69028 | 79.7885 | 47.5 | 3789.9524 | 49.1822 | 5684.9285 | 9474.8809
411 |  | Div-09 | Tapping | 13944 | 5% | 14641.2 | LF | 0.015 | 219.618 | 47.5 | 10431.855 | 0.015 | 219.618 | 10651.473
412 |  | Div-09 | Mudding Compound | 985.376 | 5% | 1034.6448 | LBS | 0.22 | 227.6219 | 47.5 | 10812.0382 | 0.66 | 682.8656 | 11494.9037
413 |  | Div-09 | Screws | 26145 | 0% | 26145 | EA | 0.001 | 26.145 | 47.5 | 1241.8875 | 0.02 | 522.9 | 1764.7875
Door Trim
414 |  | Div-09 | Door Trim | 2791 | 5% | 2930.55 | LF | 0.04 | 117.222 | 47.5 | 5568.045 | 1.85 | 5421.5175 | 10989.5625
Ceiling Finishes
415 |  | Div-09 | 1/2" Gypsum Board Ceiling | 4485.26 | 0% | 4485.26 | EA | 0.010937 | 49.0575 | 47.5 | 2330.2327 | 0.34375 | 1541.8081 | 3872.0409
416 |  | Div-09 | 1/2" Green Gypsum Board Ceiling | 1099.54 | 0% | 1099.54 | EA | 0.010937 | 12.0262 | 47.5 | 571.2454 | 0.34375 | 377.9669 | 949.2123
417 |  | Div-09 | 1/2" Resilient Channels | 4199.0977 | 5% | 4409.0526 | LF | 0.035 | 154.3168 | 47.5 | 7330.05 | 0.88 | 3879.9663 | 11210.0163
418 |  | Div-09 | 4" Insulation | 5585 | 5% | 5864.25 | SF | 0.012 | 70.371 | 47.5 | 3342.6225 | 1.97 | 11552.5725 | 14895.195
419 |  | Div-09 | 1" Rigid Insulation @ Endwall | 473.0435 | 5% | 496.6956 | SF | 0.01 | 4.967 | 47.5 | 235.9304 | 0.9 | 447.0261 | 682.9565
Floor Finishes
420 |  | Div-09 | Sealed Concrete @ Garage | 1468.34 | 5% | 1541.757 | SF | 0.035 | 53.9615 | 87.25 | 4708.1404 | 1 | 1541.757 | 6249.8974
421 |  | Div-09 | Sealed Concrete @ (Mech, Storage etc.) Assumed | 1215.77 | 5% | 1276.5585 | SF | 0.035 | 44.6795 | 87.25 | 3898.2905 | 1 | 1276.5585 | 5174.849
422 |  | Div-09 | Carpet Tile | 5562.54 | 5% | 5840.667 | SF | 0.04 | 233.6267 | 87.25 | 20383.9278 | 2.35 | 13725.5675 | 34109.4953
Floor Tiles
423 |  | Div-09 | F9- (24" X 48") Tiles on Pedestal | 8587.36 | 5% | 9016.728 | SF | 0.045 | 405.7528 | 87.25 | 35401.9283 | 3.88 | 34984.9046 | 70386.833
424 |  | Div-09 | Waterproofing Membrane @ Pedestal Area | 8587.36 | 5% | 9016.728 | SF | 0.015 | 135.2509 | 87.25 | 11800.6428 | 0.93 | 8385.557 | 20186.1998
425 |  | Div-09 | Ceramic Tile | 992.06 | 5% | 1041.663 | SF | 0.089 | 92.708 | 87.25 | 8088.7736 | 4.7 | 4895.8161 | 12984.5897
Wall Tiles
426 |  | Div-09 | 3/4" Tile | 736.7175 | 5% | 773.5534 | SF | 0.089 | 68.8463 | 87.25 | 6006.8353 | 4.7 | 3635.7009 | 9642.5362
Base
427 |  | Div-09 | (1" X 2") VG Fir Baseboard | 1076.51 | 5% | 1130.3355 | LF | 0.028 | 31.6494 | 87.25 | 2761.4096 | 1.11 | 1254.6724 | 4016.082
Paint
Wall Paint
428 |  | Div-09 | Paint on Wall | 19517.77 | 5% | 20493.6585 | SF | 0.02 | 409.8732 | 35 | 14345.561 | 0.35 | 7172.7805 | 21518.3414
Ceiling Paint
429 |  | Div-09 | Paint on Exposed Ceiling | 1140.07 | 5% | 1197.0735 | SF | 0.02 | 23.9415 | 35 | 837.9514 | 0.35 | 418.9757 | 1256.9272
430 |  | Div-09 | Paint on Gypsum Board Ceiling | 5584.8 | 5% | 5864.04 | SF | 0.02 | 117.2808 | 35 | 4104.828 | 0.35 | 2052.414 | 6157.242
Door Paint
431 |  | Div-09 | Paint on Doors | 67 | 0% | 67 | EA | 1.8 | 120.6 | 35 | 4221 | 36 | 2412 | 6633
Trim Paint
432 |  | Div-09 | Paint on Door Trim | 2790.6 | 5% | 2930.13 | LF | 0.022 | 64.4629 | 35 | 2256.2001 | 0.8 | 2344.104 | 4600.3041
Exterior Paint
433 |  | Div-09 | Paint on Stucco | 7755 | 5% | 8142.75 | SF | 0.025 | 203.5688 | 35 | 7124.9063 | 0.55 | 4478.5125 | 11603.4188
|  | Div-10 | Specialties | [11 empty] | 16462.3516
Toilet Accessories
434 |  | Div-10 | (24" X 36") Mirror (Assumed) | 10 | 0% | 10 | EA | 2.128 | 21.28 | 55 | 1170.4 | 221.3333 | 2213.3333 | 3383.7333
435 |  | Div-10 | Soap Dispenser (Assumed) | 13 | 0% | 13 | EA | 0.95 | 12.35 | 55 | 679.25 | 85.5 | 1111.5 | 1790.75
436 |  | Div-10 | 24" Grab Bar | 1 | 0% | 1 | EA | 0.85 | 0.85 | 55 | 46.75 | 28.57 | 28.57 | 75.32
437 |  | Div-10 | Paper Towel Dispenser (Assumed) | 10 | 0% | 10 | EA | 1.2 | 12 | 55 | 660 | 66 | 660 | 1320
Toilet Partition
438 |  | Div-10 | (6'-9" H) Bath Glass Enclosure | 34.08 | 5% | 35.784 | LF | 1.55 | 55.4652 | 55 | 3050.586 | 191.2017 | 6841.9622 | 9892.5482
|  | Div-11 | Equipment | [11 empty] | 7806.83
Equipment
439 |  | Div-11 | Fridge W/ Freezer | 1 | 0% | 1 | EA | 6.25 | 6.25 | 50 | 312.5 | 1932 | 1932 | 2244.5
440 |  | Div-11 | Mini Fridge Undercounter | 1 | 0% | 1 | EA | 5.22 | 5.22 | 50 | 261 | 1397 | 1397 | 1658
441 |  | Div-11 | Dishwasher | 2 | 0% | 2 | EA | 4.6 | 9.2 | 50 | 460 | 650 | 1300 | 1760
442 |  | Div-11 | (2'-1" X 5'-6") Cooking Range | 1 | 0% | 1 | EA | 4.26 | 4.26 | 50 | 213 | 698 | 698 | 911
443 |  | Div-11 | Ice Maker | 1 | 0% | 1 | EA | 4.12 | 4.12 | 50 | 206 | 541 | 541 | 747
444 |  | Div-11 | (36" X 34") BBQ Grill | 1 | 0% | 1 | EA | 3.2 | 3.2 | 50 | 160 | 326.33 | 326.33 | 486.33
|  | Div-12 | Furnishing | [11 empty] | 61094.9659
Cabinetry & Millwork
445 |  | Div-12 | (2'-1" Wide) Countertop | 174.4929 | 5% | 183.2176 | SF | 0.2 | 36.6435 | 65 | 2381.8282 | 45.5 | 8336.3988 | 10718.227
446 |  | Div-12 | (2'-2" Wide) Countertop | 16.4909 | 5% | 17.3154 | SF | 0.2 | 3.4631 | 65 | 225.1004 | 45.5 | 787.8513 | 1012.9517
447 |  | Div-12 | (1'-10" Wide) Countertop | 23.8815 | 5% | 25.0756 | SF | 0.2 | 5.0151 | 65 | 325.9825 | 45.5 | 1140.9387 | 1466.9211
448 |  | Div-12 | (5' X 8') Kitchen Island | 1 | 0% | 1 | EA | 14.36 | 14.36 | 65 | 933.4 | 3420 | 3420 | 4353.4
449 |  | Div-12 | (4'-6" X 8'-8") Countertop | 1 | 0% | 1 | EA | 14.0064 | 14.0064 | 65 | 910.415 | 3335.7825 | 3335.7825 | 4246.1975
450 |  | Div-12 | (24" Wide X 36" H) Base Cabinet | 27.15 | 5% | 28.5075 | LF | 1.278 | 36.4326 | 65 | 2368.118 | 142 | 4048.065 | 6416.183
451 |  | Div-12 | (24" Wide X 34" H) Base Cabinet | 30.74 | 5% | 32.277 | LF | 1.175 | 37.9268 | 65 | 2465.2398 | 130.56 | 4214.0851 | 6679.3249
452 |  | Div-12 | (12" Wide X 32" H) Upper Cabinet | 27.57 | 5% | 28.9485 | LF | 0.55296 | 16.0074 | 65 | 1040.4786 | 61.44 | 1778.5958 | 2819.0744
453 |  | Div-12 | (24" Wide X 20" H) Vanity | 48.28 | 5% | 50.694 | LF | 0.6912 | 35.0397 | 65 | 2277.58 | 76.8 | 3893.2992 | 6170.8792
454 |  | Div-12 | (26" Wide X 20" H) Vanity | 7.61 | 5% | 7.9905 | LF | 0.7488 | 5.9833 | 65 | 388.9136 | 83.2 | 664.8096 | 1053.7232
455 |  | Div-12 | (22" Wide X 18" H) Vanity | 13.06 | 5% | 13.713 | LF | 0.57024 | 7.8197 | 65 | 508.2806 | 63.36 | 868.8557 | 1377.1363
456 |  | Div-12 | (24" Deep X 7'-0" H) Closet | 8.39 | 5% | 8.8095 | LF | 2.0321 | 17.902 | 65 | 1163.6321 | 225.792 | 1989.1146 | 3152.7467
457 |  | Div-12 | (24" Wide) Bench @ Sauna | 21.72 | 5% | 22.806 | LF | 0.58698 | 13.3867 | 65 | 870.1333 | 65.22 | 1487.4073 | 2357.5406
458 |  | Div-12 | (36" Deep X 7'-0" H) Closet | 9.6 | 5% | 10.08 | LF | 3.0482 | 30.7258 | 65 | 1997.1754 | 338.688 | 3413.975 | 5411.1504
459 |  | Div-12 | Shelving Rod | 8.4 | 5% | 8.82 | LF | 0.225 | 1.9845 | 65 | 128.9925 | 28.5 | 251.37 | 380.3625
460 |  | Div-12 | (12" Wide) Shelving | 36.32 | 5% | 38.136 | LF | 0.4 | 15.2544 | 65 | 991.536 | 65.23 | 2487.6113 | 3479.1473
|  | Div-13 | Conveying Equipment | [11 empty] | 47950
461 |  | Div-13 | (5'-4" X 5'-0") Elevator | 1 | 0% | 1 | EA | 75 | 75 | 120 | 9000 | 38950 | 38950 | 47950
|  | Div-22 | Plumbing | [11 empty] | 33836.03
Fixtures
462 |  | Div-22 | (2'-9" X 7'-0") Bath Tub | 1 | 0% | 1 | EA | 8.25 | 8.25 | 90 | 742.5 | 985.21 | 985.21 | 1727.71
463 |  | Div-22 | (36" x 78") Bath Tub | 2 | 0% | 2 | EA | 9.75 | 19.5 | 90 | 1755 | 1102 | 2204 | 3959
464 |  | Div-22 | (42" x 76") Bath Tub | 1 | 0% | 1 | EA | 9.75 | 9.75 | 90 | 877.5 | 1132 | 1132 | 2009.5
465 |  | Div-22 | Double Compartment Sink | 1 | 0% | 1 | EA | 4.22 | 4.22 | 90 | 379.8 | 555 | 555 | 934.8
466 |  | Div-22 | Shower Head | 6 | 0% | 6 | EA | 2.33 | 13.98 | 90 | 1258.2 | 285.22 | 1711.32 | 2969.52
467 |  | Div-22 | Sink W/ Faucet | 13 | 0% | 13 | EA | 4.63 | 60.19 | 90 | 5417.1 | 621 | 8073 | 13490.1
468 |  | Div-22 | WC | 10 | 0% | 10 | EA | 4.15 | 41.5 | 90 | 3735 | 432 | 4320 | 8055
469 |  | Div-22 | Hose Bib | 2 | 0% | 2 | EA | 1.88 | 3.76 | 90 | 338.4 | 176 | 352 | 690.4
|  | Div-31 | Earthwork | [11 empty] | 18005.085
470 |  | Div-31 | Excavation | 180 | 5% | 189 | CY | 0.315 | 59.535 | 146 | 8692.11 |  | 0 | 8692.11
471 |  | Div-31 | Backfill | 135 | 5% | 141.75 | CY | 0.3 | 42.525 | 146 | 6208.65 |  | 0 | 6208.65
472 |  | Div-31 | Soil Export | 45 | 5% | 47.25 | CY | 0.45 | 21.2625 | 146 | 3104.325 |  | 0 | 3104.325
|  | Div-32 | Exterior Improvements | [11 empty] | 20335.9983
Concrete Walkway
473 |  | Div-32 | Concrete Walkway (6" Slab Assumed) | 4.0107 | 5% | 4.2113 | CY | 3 | 12.6338 | 52 | 656.9593 | 185 | 779.0864 | 1436.0457
Concrete Foundation Wall (Assumed)
474 |  | Div-32 | Concrete Stairs (6" thk Assumed) | 7.0019 | 5% | 7.3519 | CY | 3 | 22.0558 | 52 | 1146.9033 | 185 | 1360.1097 | 2507.0131
Mobilization
475 |  | Div-03 | Mobilization for Concrete | 11 | 5% | 11.55 | CY | 0.3 | 3.465 | 52 | 180.18 |  | 0 | 180.18
Site Amenities
476 |  | Div-32 | (24" Wide) Wood Bench | 30.62 | 0% | 30.62 | EA | 2.16 | 66.1392 | 52 | 3439.2384 | 185.63 | 5683.9906 | 9123.229
Landscaping
477 |  | Div-32 | (15" Wide) Landscape Wall | 46.47 | 5% | 48.7935 | SF | 0.2 | 9.7587 | 52 | 507.4524 | 12.22 | 596.2566 | 1103.709
478 |  | Div-32 | (12" Wide X 21" H) Landscape Wall | 270.71 | 5% | 284.2455 | SF | 0.165 | 46.9005 | 52 | 2438.8264 | 6.53 | 1856.1231 | 4294.9495
479 |  | Div-32 | (6" Wide) Landscape Wall | 44.97 | 0% | 44.97 | EA | 0.3 | 13.491 | 52 | 701.532 | 22 | 989.34 | 1690.872
|  | Div-33 | Utilities | [11 empty] | 4790.8435
480 |  | Div-33 | (3" Wide) Trench Drain | 20 | 5% | 21 | LF | 0.65 | 13.65 | 52 | 709.8 | 43.0769 | 904.6154 | 1614.4154
481 |  | Div-33 | (4" Wide) Trench Drain | 11.47 | 5% | 12.0435 | LF | 0.72 | 8.6713 | 52 | 450.9086 | 57.44 | 691.7786 | 1142.6873
482 |  | Div-33 | (4" Dia) Polyethylene Perforated Drainage Pipe | 384 | 5% | 403.2 | LF | 0.065 | 26.208 | 52 | 1362.816 | 1.664 | 670.9248 | 2033.7408
[8 empty] | Total= | 14361.2722 |  | 821296.8659 |  | 1058024.9746 | 1879321.8404 | 1879321.8404
[6 empty] | 9.5% | Material Tax= | [5 empty] | 100512.3726 | 100512.3726 | 100512.3726
[6 empty] | 20% | Overhead and Profit= |  |  |  | 164259.3732 |  | 211604.9949 | 375864.3681 | 375864.3681
[7 empty] | Total Bid= |  |  |  | 985556.239 |  | 1370142.3421 | 2355698.5811 | 2355698.5811