## PROJECT SUMMARY
Project Cost Summary
| Date: | 2021-12-26
| Project Title: | Stillmeadow Elementary School
| Project Location: | 800 Stillwater Road, Stamford, CT 06902
Stillmeadow Elementary School
| Project Cost Summary | Total Cost
| Base Bid | 374410.7351
| Phase 1, Alternate - 1 | 144295.1561
| Phase 1, Alternate - 2 | 262568.8081
| Phase 2, Alternate - 3 | 168389.9427
| Phase 2, Alternate - 4 | 102099.4751
| Phase 2, Alternate - 5 | 181201.9232
| Allowance - 1 | 35000
| Allowance - 2 | 30000
Note: Changing values here will change the values in complete project
Unit Wastage Percentages
| Unit | Wastage
| EA | 0%
| LF | 5%
| SF | 5%
| LS | 0%
| LBS | 5%
| TONS | 5%
| CY | 5%

## Stillmeadow Elementary School
Sr# | Ref Sheet | Div No: | Description | Quantity | Wastage % | Quantity With Wastage | Unit | Unit Labor Hour | Total Labor Hour | Per Hour Labor Rate | Total Labor Hour Rate | Unit Material Cost | Total Material Cost | Total Cost | Trade Cost
MATERIAL TAKEOFF AND COST SUMMARY
Stillmeadow Elementary School Base Bid
| Sub-Total= |  | 295346.0113 |  |  | Date: | 2021-12-26
5% | Material Tax= |  | 5228.2211 |  |  | Project Title: | Stillmeadow Elementary School
25% | Overhead and Profit= |  | 73836.5028 |  |  | Project Location: | 800 Stillwater Road, Stamford, CT 06902
| Total Bid= |  | 374410.7351
[6 empty] | Gross area of Structure= | 14972
Stillmeadow Elementary School Phase 1, Alternate 1 | [5 empty] | Internal Area of Structure= | 14972
| Sub-Total= |  | 114514.1408 |  |  | No. of Floors= | 1
5% | Material Tax= |  | 1152.4801
25% | Overhead and Profit= |  | 28628.5352
| Total Bid= |  | 144295.1561
Stillmeadow Elementary School Phase 1, Alternate 2
| Sub-Total= |  | 208653.0245
5% | Material Tax= |  | 1752.5274
25% | Overhead and Profit= |  | 52163.2561
| Total Bid= |  | 262568.8081
Stillmeadow Elementary School Phase 2, Alternate 3
| Sub-Total= |  | 133179.4146
5% | Material Tax= |  | 1915.6745
25% | Overhead and Profit= |  | 33294.8536
| Total Bid= |  | 168389.9427
Stillmeadow Elementary School Phase 2, Alternate 4
| Sub-Total= |  | 81047.579
5% | Material Tax= |  | 790.0014
25% | Overhead and Profit= |  | 20261.8947
| Total Bid= |  | 102099.4751
Stillmeadow Elementary School Phase 2, Alternate 5
| Sub-Total= |  | 144101.4237
5% | Material Tax= |  | 1075.1435
25% | Overhead and Profit= |  | 36025.3559
| Total Bid= |  | 181201.9232
Stillmeadow Elementary School Allowances
| Allowance - 1 |  | 35000
| Allowance - 2 |  | 30000
Sr# | Ref Sheet | Div No: | Description | Quantity | Wastage % | Quantity With Wastage | Unit | Unit Labor Hour | Total Labor Hour | Per Hour Labor Rate | Total Labor Cost | Unit Material Cost | Total Material Cost | Item Cost | Trade Cost
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 77235.4829
Building Demolition
1 | AR100 | Div-02 | Remove Interior Wall @ 10' H | 205.6 | 5% | 215.88 | SF | 0.044 | 9.4987 | 74.6 | 708.6045 | 0 | 0 | 708.6045
2 | AR100 | Div-02 | Remove Side Panel @ 10' H | 25.1 | 5% | 26.355 | SF | 0.01 | 0.26355 | 74.6 | 19.6608 | 0 | 0 | 19.6608
3 | AR100 | Div-02 | Remove Gypsum Board @ 12' H | 4122.48 | 5% | 4328.604 | SF | 0.009 | 38.9574 | 74.6 | 2906.2247 | 0 | 0 | 2906.2247
4 | AR100 | Div-02 | Remove and Salvage Wall Mounted Tack Board @ 10' H (5 Locations) | 641 | 5% | 673.05 | SF | 0.01 | 6.7305 | 74.6 | 502.0953 | 0 | 0 | 502.0953
All Heights Assumed, Please Verify
5 | AR100 | Div-02 | Remove Countertop | 177.98 | 5% | 186.879 | SF | 0.035 | 6.5408 | 74.6 | 487.9411 | 0 | 0 | 487.9411
6 | AR100 | Div-02 | Remove Sound Attenuation | 3111.12 | 5% | 3266.676 | SF | 0.005 | 16.3334 | 74.6 | 1218.4701 | 0 | 0 | 1218.4701
7 | AR100 | Div-02 | Remove, Salvage Aluminum Saddle | 40.56 | 5% | 42.588 | LF | 0.1 | 4.2588 | 74.6 | 317.7065 | 0 | 0 | 317.7065
8 | AR100 | Div-02 | Remove Transition Strip | 17.87 | 5% | 18.7635 | LF | 0.03 | 0.5629 | 74.6 | 41.9927 | 0 | 0 | 41.9927
9 | AR100 | Div-02 | Remove Casework | 169.08 | 5% | 177.534 | LF | 0.08 | 14.2027 | 74.6 | 1059.5229 | 0 | 0 | 1059.5229
10 | AR100 | Div-02 | Remove Wood Trim | 271.94 | 5% | 285.537 | LF | 0.025 | 7.1384 | 74.6 | 532.5265 | 0 | 0 | 532.5265
11 | AR100 | Div-02 | Remove 4" Cove Base | 343.2 | 5% | 360.36 | LF | 0.025 | 9.009 | 74.6 | 672.0714 | 0 | 0 | 672.0714
12 | AR100 | Div-02 | Remove Ceiling Wall Angle | 321.86 | 5% | 337.953 | LF | 0.065 | 21.9669 | 74.6 | 1638.7341 |  | 0 | 1638.7341
13 | AR100 | Div-02 | Remove Sink | 5 | 0% | 5 | EA | 1.5 | 7.5 | 74.6 | 559.5 | 0 | 0 | 559.5
14 | AR100 | Div-02 | Remove Double Leaf Wardrobe Door and Salvage Hardware | 7 | 0% | 7 | EA | 2.25 | 15.75 | 74.6 | 1174.95 | 0 | 0 | 1174.95
15 | AR100 | Div-02 | Remove Single Leaf Wardrobe Door and Salvage Hardware | 1 | 0% | 1 | EA | 1.8 | 1.8 | 74.6 | 134.28 | 0 | 0 | 134.28
16 | AR100 | Div-02 | Remove and Salvage Electrical Outlet | 19 | 0% | 19 | EA | 0.7 | 13.3 | 74.6 | 992.18 | 0 | 0 | 992.18
17 | AR100 | Div-02 | Remove and Salvage Data Jacks | 7 | 0% | 7 | EA | 0.5 | 3.5 | 74.6 | 261.1 | 0 | 0 | 261.1
Asbestos Demolition
18 | AR100 | Div-02 | Remove VCT Flooring | 13461 | 5% | 14134.05 | SF | 0.025 | 353.3513 | 74.6 | 26360.0033 | 0 | 0 | 26360.0033
19 | AR100 | Div-02 | Remove Mastic and Substrate | 10083.19 | 5% | 10587.3495 | SF | 0.02 | 211.747 | 74.6 | 15796.3255 | 0 | 0 | 15796.3255
20 | AR100 | Div-02 | Remove Painted Tackboard | 3663 | 5% | 3846.15 | SF | 0.01 | 38.4615 | 74.6 | 2869.2279 | 0 | 0 | 2869.2279
21 | AR100 | Div-02 | Remove Brown Glue Daubs @ Tackboard | 3663 | 5% | 3846.15 | SF | 0.008 | 30.7692 | 74.6 | 2295.3823 | 0 | 0 | 2295.3823
22 | AR100 | Div-02 | Remove 4" Cove Base (< 1% Asbestos Containing ) | 121.49 | 5% | 127.5645 | LF | 0.025 | 3.1891 | 74.6 | 237.9078 | 0 | 0 | 237.9078
23 | AR100 | Div-02 | Remove Black Sink Undercoating | 5 | 0% | 5 | EA | 1.75 | 8.75 | 74.6 | 652.75 | 0 | 0 | 652.75
24 |  | Div-02 | Hauling of Demolished Material | 10083.19 | 5% | 10587.3495 | SF | 0.02 | 211.747 | 74.6 | 15796.3255 | 0 | 0 | 15796.3255
|  | Div-06 | Wood, Plastics and Sheathing | [11 empty] | 1346.294
Wood Blocking
25 | A525 | Div-06 | (1 X 2) Blocking | 165 | 5% | 173.25 | LF | 0.033 | 5.7172 | 76.19 | 435.5973 | 0.91 | 157.6575 | 593.2548
26 | A525 | Div-06 | (2 X 4) Blocking | 185 | 5% | 194.25 | LF | 0.035 | 6.7988 | 76.19 | 517.9968 | 1.21 | 235.0425 | 753.0393
|  | Div-08 | Openings | [11 empty] | 13690.4285
Doors (Manufacturer: VT Industries)
27 | A700 | Div-08 | (3'-8" X 6'-8") WD Door Type - D-1 W/ P-Lam Finish | 6 | 0% | 6 | EA | 5.3545 | 32.127 | 77.28 | 2482.7746 | 535.45 | 3212.7 | 5695.4746
28 | A700 | Div-08 | (1'-10" X 6'-8") WD Door Type - D-1 W/ P-Lam Finish | 1 | 0% | 1 | EA | 3.9574 | 3.9574 | 77.28 | 305.8279 | 395.74 | 395.74 | 701.5679
29 | A700 | Div-08 | (5'-0" X 7'-0") WD Door Type - D-1 W/ P-Lam Finish | 1 | 0% | 1 | EA | 6.8441 | 6.8441 | 77.28 | 528.912 | 684.41 | 684.41 | 1213.322
Door Hardware
30 | A700 | Div-08 | Door Hardware (Installation Only) | 8 | 0% | 8 | EA | 1.1 | 8.8 | 77.28 | 680.064 | 675 | 5400 | 6080.064
|  | Div-09 | Finishes | [11 empty] | 118475.2129
Stud Walls
31 |  |  | Wall Type - 1 (10'-0" H) | 20.58 |  |  | LF
32 | A100 | Div-09 | (1) 5/8" Type - X Gypsum Board on Both Sides (4'X8' Ea.) | 12.8625 | 0% | 12.8625 | EA | 0.288 | 3.7044 | 76.19 | 282.2382 | 12.54 | 161.2957 | 443.534
33 | A100 | Div-09 | 3-5/8" 20 Ga. Metal Stud @ 16" O.C (10' H) | 15.4737 | 0% | 15.4737 | EA | 0.35 | 5.4158 | 76.19 | 412.629 | 11.5 | 177.9474 | 590.5764
34 | A100 | Div-09 | 3-5/8" 20 Ga. Metal Stud Top and Bottom Track | 41.16 | 5% | 43.218 | LF | 0.035 | 1.5126 | 76.19 | 115.2473 | 1.15 | 49.7007 | 164.948
35 | A100 | Div-09 | Wall Bracing @ Third Points | 20.58 | 5% | 21.609 | LF | 0.035 | 0.75631 | 76.19 | 57.6236 | 1.15 | 24.8503 | 82.474
36 | A100 | Div-09 | Acoustical Sealant on Both Sides Top and Bottom | 82.32 | 5% | 86.436 | LF | 0.004 | 0.34574 | 76.19 | 26.3422 | 0.08 | 6.9149 | 33.2571
37 |  |  | Wall Type - 2 (12'-0" H) | 85.4 |  |  | LF
38 | A100 | Div-09 | (1) 5/8" Type - X Gypsum Board on Both Sides (4'X8' Ea.) | 64.05 | 0% | 64.05 | EA | 0.288 | 18.4464 | 76.19 | 1405.4312 | 12.54 | 803.187 | 2208.6182
39 | A100 | Div-09 | 4" Metal Stud Top and Bottom Track | 170.8 | 5% | 179.34 | LF | 0.035 | 6.2769 | 76.19 | 478.237 | 1.2 | 215.208 | 693.445
40 | A100 | Div-09 | Wall Bracing @ Third Points | 85.4 | 5% | 89.67 | LF | 0.035 | 3.1385 | 76.19 | 239.1185 | 1.2 | 107.604 | 346.7225
41 | A100 | Div-09 | Glass Fiber Sound Insulation | 1024.8 | 5% | 1076.04 | SF | 0.015 | 16.1406 | 76.19 | 1229.7523 | 0.85 | 914.634 | 2144.3863
42 | A100 | Div-09 | Acoustical Sealant on Both Sides Top and Bottom | 341.6 | 5% | 358.68 | LF | 0.004 | 1.4347 | 76.19 | 109.3113 | 0.08 | 28.6944 | 138.0057
43 |  |  | Wall Type - 2a (12'-0" H) | 189.68 |  |  | LF
44 | A100 | Div-09 | (1) 5/8" Type - X Gypsum Board on One Side (4'X8' Ea.) | 71.13 | 0% | 71.13 | EA | 0.288 | 20.4854 | 76.19 | 1560.7857 | 12.54 | 891.9702 | 2452.7559
45 | A100 | Div-09 | 4" Metal Stud Top and Bottom Track | 379.36 | 5% | 398.328 | LF | 0.035 | 13.9415 | 76.19 | 1062.2014 | 1.2 | 477.9936 | 1540.195
46 | A100 | Div-09 | Wall Bracing @ Third Points | 189.68 | 5% | 199.164 | LF | 0.035 | 6.9707 | 76.19 | 531.1007 | 1.2 | 238.9968 | 770.0975
47 | A100 | Div-09 | Glass Fiber Sound Insulation | 2276.16 | 5% | 2389.968 | SF | 0.015 | 35.8495 | 76.19 | 2731.3749 | 0.85 | 2031.4728 | 4762.8477
48 | A100 | Div-09 | Acoustical Sealant on Both Sides Top and Bottom | 758.72 | 5% | 796.656 | LF | 0.004 | 3.1866 | 76.19 | 242.7889 | 0.08 | 63.7325 | 306.5214
49 |  | Div-09 | Taping | 1480 | 5% | 1554 | LF | 0.01 | 15.54 | 76.19 | 1183.9926 | 0.01 | 15.54 | 1199.5326
50 |  | Div-09 | Mudding Compound | 251.008 | 5% | 263.5584 | LBS | 0.22 | 57.9828 | 76.19 | 4417.7132 | 0.5 | 131.7792 | 4549.4924
51 |  | Div-09 | Screws | 6660 | 0% | 6660 | EA | 0.001 | 6.66 | 76.19 | 507.4254 | 0.02 | 133.2 | 640.6254
Door Trim
52 | A150, A151 | Div-09 | 2" WD Trim | 248.23 | 5% | 260.6415 | LF | 0.018 | 4.6915 | 76.19 | 357.449 | 1.4 | 364.8981 | 722.3471
53 | A151 | Div-09 | 4" WD Trim | 23.71 | 5% | 24.8955 | LF | 0.02 | 0.49791 | 76.19 | 37.9358 | 1.4 | 34.8537 | 72.7895
Floor Finishes
54 | A800 | Div-09 | (18" x 18") Homogenous Vinyl Tile HVT-1 and HVT-2 (Checker Board Pattern) Manufacturer: Toli International Product: Kolurpath #3002 and #3001 Color: Mercury and Jasper | 6397 | 5% | 6716.85 | SF | 0.035 | 235.0898 | 76.19 | 17911.4881 | 3.9419 | 26477.0335 | 44388.5215
55 | A800 | Div-09 | (18" x 18") Homogenous Vinyl Tile HVT-1 Manufacturer: Toli International Product: Kolurpath #3002 Color: Mercury | 302 | 5% | 317.1 | SF | 0.035 | 11.0985 | 76.19 | 845.5947 | 3.9419 | 1249.9709 | 2095.5657
56 | A800 | Div-09 | Cement Based Underlayment | 6699 | 5% | 7033.95 | SF | 0.028 | 196.9506 | 76.19 | 15005.6662 | 0.6019 | 4233.768 | 19239.4342
Wall Finishes
57 | AR100 | Div-09 | Wall Mounted Tack Board (5 Locations) (Installation Only) | 641 | 5% | 673.05 | SF | 0.025 | 16.8263 | 76.19 | 1281.992 |  | 0 | 1281.992
Base
58 | A800 | Div-09 | 4" Rubber Base RB-1 Manufacturer: Johnsonite Product: 47 Brown | 798 | 5% | 837.9 | LF | 0.022 | 18.4338 | 76.19 | 1404.4712 | 1.03 | 863.037 | 2267.5082
Transition Strip
59 | A800 | Div-09 | Rubber Transition Strip Manufacturer: Johnsonite | 14.89 | 5% | 15.6345 | LF | 0.037 | 0.57848 | 76.19 | 44.0741 | 3.68 | 57.535 | 101.6091
60 | AR100 | Div-09 | Aluminum Threshold (Installation Only) | 40.56 | 5% | 42.588 | LF | 0.04 | 1.7035 | 76.19 | 129.7912 |  | 0 | 129.7912
Misc. Item
61 | A150, A151 | Div-09 | Filler Panel | 71.48 | 5% | 75.054 | SF | 0.044 | 3.3024 | 76.19 | 251.6081 | 5.99 | 449.5736 | 701.1818
62 | A150, A151 | Div-09 | Plastic Laminate @ Wood Doors (8 Ea.) | 132.61 | 5% | 139.2405 | SF | 0.025 | 3.481 | 76.19 | 265.2183 | 1.2188 | 169.6994 | 434.9177
63 | A150, A151 | Div-09 | Plastic Laminate @ Classroom's HM Door Transom | 73.425 | 5% | 77.0962 | SF | 0.025 | 1.9274 | 76.19 | 146.8491 | 1.2188 | 93.9611 | 240.8101
64 | A100 | Div-09 | 3/4" Particle Board Enclosure @ Drainline | 2 | 0% | 2 | EA | 0.39 | 0.78 | 76.19 | 59.4282 | 34 | 68 | 127.4282
Paint
Wall Paint
65 | A800 | Div-09 | Paint on Gypsum Board Wall (P-1) Manufacturer: Sherwin Williams Product: SW 6371 Color: Vanillin | 10469 | 5% | 10992.45 | SF | 0.02 | 219.849 | 74.05 | 16279.8185 | 0.4 | 4396.98 | 20676.7985
Door Paint
66 | A700 | Div-09 | Paint on Existing (3'-0" X 7'-0") HM Door (P-4) Manufacturer: Sherwin Williams Product: SW 6074 Color: Spalding Gray | 11 | 0% | 11 | EA | 1.08 | 11.88 | 74.05 | 879.714 | 19.8 | 217.8 | 1097.514
67 | A700 | Div-09 | Paint on Existing (3'-0" X 2'-8") HM Door Transom (1 Side) Manufacturer: Sherwin Williams Product: SW 6074 Color: Spalding Gray | 11 | 0% | 11 | EA | 0.9 | 9.9 | 74.05 | 733.095 | 8 | 88 | 821.095
68 | A700 | Div-09 | Paint on Existing HM Frame (P-3) Manufacturer: Sherwin Williams Product: SW 7510 Color: Chateau Brown | 11 | 0% | 11 | EA | 0.306 | 3.366 | 74.05 | 249.2523 | 13.6 | 149.6 | 398.8523
Trim Paint
69 | A150, A151 | Div-09 | Paint on 2" WD Trim (P-3) Manufacturer: Sherwin Williams Product: SW 7510 Color: Chateau Brown | 248.23 | 5% | 260.6415 | LF | 0.018 | 4.6915 | 74.05 | 347.4091 | 0.8 | 208.5132 | 555.9223
70 | A150, A151 | Div-09 | Paint on 4" WD Trim (P-3) Manufacturer: Sherwin Williams Product: SW 7510 Color: Chateau Brown | 23.71 | 5% | 24.8955 | LF | 0.018 | 0.44812 | 74.05 | 33.1832 | 0.8 | 19.9164 | 53.0996
Please Verify Trim Paint Type
|  | Div-12 | Furnishing | [11 empty] | 65820.9303
Millwork and Countertop (Manufacturer: Wilsonart)
71 | A150, A151, A525 | Div-12 | 1/2" Solid Surface Countertop Product: Champagne Ice | 177.98 | 5% | 186.879 | SF | 0.1 | 18.6879 | 99.99 | 1868.6031 | 85.5 | 15978.1545 | 17846.7576
72 | A150, A151, A525 | Div-12 | 1/2" Continuous Plywood | 177.98 | 5% | 186.879 | SF | 0.015 | 2.8032 | 99.99 | 280.2905 | 1.15 | 214.9108 | 495.2013
73 | A150, A151, A525 | Div-12 | 3/4" Melamine Board Sub-Top | 177.98 | 5% | 186.879 | SF | 0.015 | 2.8032 | 99.99 | 280.2905 | 1.0031 | 187.463 | 467.7535
74 | A150, A151, A525 | Div-12 | (1" X 2") Front Nosing | 88.99 | 5% | 93.4395 | LF | 0.05 | 4.672 | 99.99 | 467.1508 | 13.32 | 1244.6141 | 1711.7649
75 | A150, A151, A525 | Div-12 | (4" H) Backsplash | 112.18 | 5% | 117.789 | LF | 0.089 | 10.4832 | 99.99 | 1048.2173 | 40 | 4711.56 | 5759.7773
76 | A150, A151, A525 | Div-12 | (24" Deep X 30" H) Base Cabinet W/ 1 Layer Adjustable Shelving | 34.2 | 5% | 35.91 | LF | 1.15 | 41.2965 | 77.28 | 3191.3935 | 136.57 | 4904.2287 | 8095.6222
77 | A150, A151, A525 | Div-12 | (24" Deep X 26" H) Base Cabinet W/ 1 Layer Adjustable Shelving | 35.26 | 5% | 37.023 | LF | 1.08 | 39.9848 | 77.28 | 3090.0284 | 128.44 | 4755.2341 | 7845.2626
78 | A150, A151, A525 | Div-12 | (24" Deep X 26" H) Base Cabinet @ Sink | 17.54 | 5% | 18.417 | LF | 1.08 | 19.8904 | 77.28 | 1537.127 | 128.44 | 2365.4795 | 3902.6065
79 | A150, A151, A525 | Div-12 | (14" Deep X 30" H) Wall Hung Cabinet W/ 2 Layer Adjustable Shelving | 74.68 | 5% | 78.414 | LF | 1.05 | 82.3347 | 77.28 | 6362.8256 | 114.25 | 8958.7995 | 15321.6251
80 | A150, A151, A525 | Div-12 | (24" Deep X 84" H) Wardrobe W/ 4 Layer Adjustable Shelving | 4.01 | 5% | 4.2105 | LF | 1.185 | 4.9894 | 77.28 | 385.5841 | 156.99 | 661.0064 | 1046.5905
All Cabinetry Laminate to be: Soft Gold Mesh 4911-38
81 | A150, A151, A525 | Div-12 | (18" X 4") Stretchers @ 32" O.C | 68.1648 | 0% | 68.1648 | EA | 0.58 | 39.5356 | 77.28 | 3055.3097 | 4 | 272.6592 | 3327.9688
|  | Div-22 | Plumbing | [11 empty] | 13695.778
Plumbing Fixtures
82 | A150, A151 | Div-22 | Stainless Steel Drinking Fountain | 5 | 0% | 5 | EA | 8.56 | 42.8 | 98.71 | 4224.788 | 231.45 | 1157.25 | 5382.038
83 | A150, A151 | Div-22 | Stainless Steel Sink | 5 | 0% | 5 | EA | 9.55 | 47.75 | 98.71 | 4713.4025 | 576.68 | 2883.4 | 7596.8025
84 | A150, A151 | Div-22 | Hot and Cold Water Shutoff Valve | 5 | 0% | 5 | EA | 1.25 | 6.25 | 98.71 | 616.9375 | 20 | 100 | 716.9375
|  | Div-26 | Electrical | [11 empty] | 4117.0397
Receptacles
85 | AR100 | Div-22 | Electrical Outlet (Installation Only) | 19 | 0% | 19 | EA | 0.928 | 17.632 | 102.1 | 1800.2272 |  | 0 | 1800.2272
Cover Plates
86 | A150, A151 | Div-22 | Stainless Steel Coverplates | 25 | 0% | 25 | EA | 0.725 | 18.125 | 102.1 | 1850.5625 | 18.65 | 466.25 | 2316.8125
|  | Div-27 | Communications | [11 empty] | 964.845
87 | A150, A151 | Div-27 | Data Jacks (Installation Only) | 7 | 0% | 7 | EA | 1.35 | 9.45 | 102.1 | 964.845 |  | 0 | 964.845
[8 empty] | Total= | 2472.345 |  | 190781.59 |  | 104564.4212 | 295346.0113 | 295346.0113
[6 empty] | 5% | Material Tax= | [5 empty] | 5228.2211 | 5228.2211 | 5228.2211
[6 empty] | 25% | Overhead and Profit= |  |  |  | 47695.3975 |  | 26141.1053 | 73836.5028 | 73836.5028
[7 empty] | Total Bid= |  |  |  | 238476.9875 |  | 135933.7476 | 374410.7351 | 374410.7351
Phase 1, Alternate 1
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 30472.4066
Building Demolition
1 | AR200 | Div-02 | Remove Acoustical Ceiling Tiles Panels Only | 7073.2 | 5% | 7426.86 | SF | 0.035 | 259.9401 | 74.6 | 19391.5315 | 0 | 0 | 19391.5315
2 |  | Div-02 | Hauling of Demolished Material | 7073.2 | 5% | 7426.86 | SF | 0.02 | 148.5372 | 74.6 | 11080.8751 | 0 | 0 | 11080.8751
|  | Div-09 | Finishes | [11 empty] | 84041.7342
Ceiling Finishes
3 | A200 | Div-09 | (2 X 2) Acoustical Ceiling Tile Panels Only Manufacturer: Armstrong Product: Cirrus High Nrc 563 | 175.12 | 5% | 183.876 | SF | 0.089 | 16.365 | 76.19 | 1246.8466 | 2.74 | 503.8202 | 1750.6668
4 | A200 | Div-09 | (2 x 4) Acoustical Ceiling Tile Panels Only Manufacturer: Armstrong Product: Cirrus High Nrc 565 | 6624.9 | 5% | 6956.145 | SF | 0.089 | 619.0969 | 76.19 | 47168.9932 | 2.74 | 19059.8373 | 66228.8305
5 | A200, A500 | Div-09 | Gypsum Board Soffit | 1.6572 | 0% | 1.6572 | EA | 0.288 | 0.47727 | 76.19 | 36.3632 | 12.54 | 20.7811 | 57.1443
6 | A200, A500 | Div-09 | 3-5/8" Metal Studs | 92.8287 | 5% | 97.4702 | LF | 0.035 | 3.4115 | 76.19 | 259.9188 | 1.15 | 112.0907 | 372.0096
7 | A200 | Div-09 | Extended Leg Ceiling Wall Angle Molding | 321.86 | 5% | 337.953 | LF | 0.035 | 11.8284 | 76.19 | 901.2024 | 1.0833 | 366.1157 | 1267.3181
Paint
Ceiling Paint
8 | A200, A825 | Div-09 | Paint on Gypsum Board Soffit (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 38.78 | 5% | 40.719 | SF | 0.02 | 0.81438 | 76.19 | 62.0476 | 0.4 | 16.2876 | 78.3352
9 | AR200 | Div-09 | Scrape, Clean and Paint on Existing Ceiling Grids (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 7073.02 | 5% | 7426.671 | SF | 0.02 | 148.5334 | 76.19 | 11316.7613 | 0.4 | 2970.6684 | 14287.4297
[8 empty] | Total= | 1209.0041 |  | 91464.5397 |  | 23049.6011 | 114514.1408 | 114514.1408
[6 empty] | 5% | Material Tax= | [5 empty] | 1152.4801 | 1152.4801 | 1152.4801
[6 empty] | 25% | Overhead and Profit= |  |  |  | 22866.1349 |  | 5762.4003 | 28628.5352 | 28628.5352
[7 empty] | Total Bid= |  |  |  | 114330.6746 |  | 29964.4815 | 144295.1561 | 144295.1561
Phase 1, Alternate 2
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 51472.6895
Building Demolition
1 | AR201 | Div-09 | Remove Acoustical Celling Panel W/ Grid | 6809.59 | 5% | 7150.0695 | SF | 0.035 | 250.2524 | 74.6 | 18668.8315 |  | 0 | 18668.8315
2 | AR201 | Div-09 | Remove Lighting Fixtures | 126 | 0% | 126 | EA | 1.225 | 154.35 | 74.6 | 11514.51 |  | 0 | 11514.51
3 | AR201 | Div-09 | Remove and Salvage Ceiling Mounted Devices | 11 | 0% | 11 | EA | 1.4 | 15.4 | 74.6 | 1148.84 |  | 0 | 1148.84
4 | AR201 | Div-09 | Remove and Salvage Mechanical Register/ Diffusers | 22 | 0% | 22 | EA | 2.66 | 58.52 | 74.6 | 4365.592 |  | 0 | 4365.592
5 | AR201 | Div-09 | Remove and Salvage Sprinkler Heads | 37 | 0% | 37 | EA | 1.85 | 68.45 | 74.6 | 5106.37 |  | 0 | 5106.37
6 |  | Div-02 | Hauling of Demolished Material | 6810 | 5% | 7150.5 | SF | 0.02 | 143.01 | 74.6 | 10668.546 |  | 0 | 10668.546
|  | Div-09 | Finishes | [11 empty] | 68428.0064
Ceiling Finishes
7 | A201 | Div-09 | (2 X 2) Acoustical Ceiling Tile W/ Grid ACT-1 Manufacturer: Armstrong Product: Cirrus High Nrc 563 | 6802.64 | 5% | 7142.772 | SF | 0.089 | 635.7067 | 76.19 | 48434.4941 | 2.74 | 19571.1953 | 68005.6894
8 | A201 | Div-09 | Gypsum Board Soffit | 1.3864 | 0% | 1.3864 | EA | 0.288 | 0.39929 | 76.19 | 30.4215 | 12.54 | 17.3855 | 47.8071
9 | A201 | Div-09 | 3-5/8" Metal Studs | 78.1093 | 5% | 82.0147 | LF | 0.035 | 2.8705 | 76.19 | 218.7046 | 1.15 | 94.3169 | 313.0215
Paint
Ceiling Paint
10 | A201, A825 | Div-09 | Paint on Gypsum Board Soffit (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 30.44 | 5% | 31.962 | SF | 0.02 | 0.63924 | 76.19 | 48.7037 | 0.4 | 12.7848 | 61.4885
|  | Div-21 | Fire Suppression | [11 empty] | 11557.0642
11 | AR201 | Div-21 | Sprinkler Heads W/ New Cover (Installation Only) | 39 | 0% | 39 | EA | 1.2 | 46.8 | 74.21 | 3473.028 |  | 0 | 3473.028
12 | AR201 | Div-21 | (1" X 1/2") Coupling (If Required) | 39 | 0% | 39 | EA | 0.66 | 25.74 | 74.21 | 1910.1654 | 4.03 | 157.17 | 2067.3354
13 | AR201 | Div-21 | 1" Drop Nipple | 39 | 0% | 39 | EA | 0.985 | 38.415 | 74.21 | 2850.7771 | 19.67 | 767.13 | 3617.9072
14 | AR201 | Div-21 | Branch Pipe (Please Verify, If Required) | 117 | 5% | 122.85 | LF | 0.22 | 27.027 | 74.21 | 2005.6737 | 3.2 | 393.12 | 2398.7937
|  | Div-22 | HVAC | [11 empty] | 36959.3128
Diffusers/ Grilles
15 | AR201 | Div-22 | Mechanical Register/ Diffusers (Installation Only) | 23 | 0% | 23 | EA | 2.5 | 57.5 | 111.08 | 6387.1 |  | 0 | 6387.1
16 | A201, A500 | Div-22 | (12" Dia) Round Duct Connector W/ Acoustic Lining | 3 | 0% | 3 | EA | 1.665 | 4.995 | 111.08 | 554.8446 | 19.7 | 59.1 | 613.9446
17 | A201, A500 | Div-22 | (24" Dia) Round Duct Connector W/ Acoustic Lining | 20 | 0% | 20 | EA | 1.8 | 36 | 111.08 | 3998.88 | 42.9818 | 859.6364 | 4858.5164
18 | A201, A500 | Div-22 | (12" Dia) Flexible Duct (Please Confirm Duct Size) | 15 | 5% | 15.75 | LF | 0.948 | 14.931 | 111.08 | 1658.5355 | 5.88 | 92.61 | 1751.1455
19 | A201, A500 | Div-22 | (24" Dia) Flexible Duct (Please Confirm Duct Size) | 100 | 5% | 105 | LF | 1.896 | 199.08 | 111.08 | 22113.8064 | 11.76 | 1234.8 | 23348.6064
|  | Div-26 | Electrical | [11 empty] | 38435.4181
Lighting Items
20 | A201 | Div-26 | (2 X 4) Recessed Ceiling Light | 83 | 0% | 83 | EA | 1.88 | 156.04 | 102.1 | 15931.684 | 94.55 | 7847.65 | 23779.334
21 | A201 | Div-26 | (2 X 2) Recessed Ceiling Light | 8 | 0% | 8 | EA | 1.45 | 11.6 | 102.1 | 1184.36 | 84 | 672 | 1856.36
22 | A201 | Div-26 | (1 X 4) Surface Mounted Light | 17 | 0% | 17 | EA | 1.193 | 20.281 | 102.1 | 2070.6901 | 59.65 | 1014.05 | 3084.7401
23 |  | Div-26 | Conduits | 1328 | 0% | 1328 | EA | 0.025 | 33.2 | 102.1 | 3389.72 | 1.1 | 1460.8 | 4850.52
24 |  | Div-26 | Wiring | 3984 | 0% | 3984 | EA | 0.01 | 39.84 | 102.1 | 4067.664 | 0.2 | 796.8 | 4864.464
|  | Div-27 | Communications | [11 empty] | 918.9
25 | AR201 | Div-27 | Ceiling Mounted Wireless Internet Hub (Installation Only) | 6 | 0% | 6 | EA | 1.5 | 9 | 102.1 | 918.9 |  | 0 | 918.9
|  | Div-28 | Electronic Safety and Security | [11 empty] | 881.6335
26 | AR201 | Div-28 | Motion Sensor (Installation Only) | 2 | 0% | 2 | EA | 1.88 | 3.76 | 102.1 | 383.896 |  | 0 | 383.896
27 | AR201 | Div-28 | Fire Alarm Smoke Detector (Installation Only) | 3 | 0% | 3 | EA | 1.625 | 4.875 | 102.1 | 497.7375 |  | 0 | 497.7375
[8 empty] | Total= | 2058.6822 |  | 173602.4756 |  | 35050.5489 | 208653.0245 | 208653.0245
[6 empty] | 5% | Material Tax= | [5 empty] | 1752.5274 | 1752.5274 | 1752.5274
[6 empty] | 25% | Overhead and Profit= |  |  |  | 43400.6189 |  | 8762.6372 | 52163.2561 | 52163.2561
[7 empty] | Total Bid= |  |  |  | 217003.0945 |  | 45565.7136 | 262568.8081 | 262568.8081
Phase 2, Alternate 3
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 37169.6216
Building Demolition
1 | AR100 | Div-02 | Remove Transition Strip | 17.47 | 5% | 18.3435 | LF | 0.03 | 0.5503 | 74.6 | 41.0528 | 0 | 0 | 41.0528
2 | AR100 | Div-02 | Remove 4" Cove Base | 1059.87 | 5% | 1112.8635 | LF | 0.025 | 27.8216 | 74.6 | 2075.4904 | 0 | 0 | 2075.4904
Asbestos Demolition
3 | AR100 | Div-02 | Remove VCT Flooring | 6963.02 | 5% | 7311.171 | SF | 0.025 | 182.7793 | 74.6 | 13635.3339 | 0 | 0 | 13635.3339
4 | AR100 | Div-02 | Remove Mastic and Substrate | 6759.81 | 5% | 7097.8005 | SF | 0.02 | 141.956 | 74.6 | 10589.9183 | 0 | 0 | 10589.9183
5 | AR100 | Div-02 | Remove 4" Cove Base (< 1% Asbestos Containing ) | 121.49 | 5% | 127.5645 | LF | 0.025 | 3.1891 | 74.6 | 237.9078 | 0 | 0 | 237.9078
6 |  | Div-02 | Hauling of Demolished Material | 6759.81 | 5% | 7097.8005 | SF | 0.02 | 141.956 | 74.6 | 10589.9183 | 0 | 0 | 10589.9183
|  | Div-09 | Finishes | [11 empty] | 96009.793
Floor Finishes
7 | A800 | Div-09 | (18" x 18") Homogenous Vinyl Tile HVT-1 and HVT-2 (Checker Board Pattern) Manufacturer: Toli International Product: Kolurpath #3002 and #3001 Color: Mercury and Jasper | 1665.66 | 5% | 1748.943 | SF | 0.035 | 61.213 | 76.19 | 4663.8189 | 3.9419 | 6894.1278 | 11557.9467
8 | A800 | Div-09 | (18" x 18") Homogenous Vinyl Tile HVT-1 Manufacturer: Toli International Product: Kolurpath #3002 Color: Mercury | 4772.71 | 5% | 5011.3455 | SF | 0.035 | 175.3971 | 76.19 | 13363.5045 | 3.9419 | 19754.1351 | 33117.6396
9 | A800 | Div-09 | Cement Based Underlayment | 6438 | 5% | 6759.9 | SF | 0.028 | 189.2772 | 76.19 | 14421.0299 | 0.6019 | 4068.816 | 18489.8459
Base
10 | A800 | Div-09 | 4" Rubber Base RB-1 Manufacturer: Johnsonite Product: 47 Brown | 1205.04 | 5% | 1265.292 | LF | 0.022 | 27.8364 | 76.19 | 2120.8571 | 1.03 | 1303.2508 | 3424.1079
Transition Strip
11 | A800 | Div-09 | Rubber Transition Strip Manufacturer: Johnsonite | 42.06 | 5% | 44.163 | LF | 0.037 | 1.634 | 76.19 | 124.4968 | 3.68 | 162.5198 | 287.0167
Paint
Wall Paint
12 | A800 | Div-09 | Paint on Gypsum Board Wall (P-1) Manufacturer: Sherwin Williams Product: SW 6371 Color: Vanillin | 12723.905 | 5% | 13360.1003 | SF | 0.02 | 267.202 | 74.05 | 19786.3085 | 0.4 | 5344.0401 | 25130.3486
Door Paint
13 | A700 | Div-09 | Paint on Existing (3'-0" X 7'-0") HM Door (P-4) Manufacturer: Sherwin Williams Product: SW 6074 Color: Spalding Gray | 19 | 0% | 19 | EA | 1.08 | 20.52 | 74.05 | 1519.506 | 19.8 | 376.2 | 1895.706
14 | A700 | Div-09 | Paint on Existing (3'-0" X 2'-8") HM Door Transom (1 Side) Manufacturer: Sherwin Williams Product: SW 6074 Color: Spalding Gray | 19 | 0% | 19 | EA | 0.9 | 17.1 | 74.05 | 1266.255 | 8 | 152 | 1418.255
15 | A700 | Div-09 | Paint on Existing HM Frame (P-3) Manufacturer: Sherwin Williams Product: SW 7510 Color: Chateau Brown | 19 | 0% | 19 | EA | 0.306 | 5.814 | 74.05 | 430.5267 | 13.6 | 258.4 | 688.9267
[8 empty] | Total= | 1264.2461 |  | 94865.9249 |  | 38313.4896 | 133179.4146 | 133179.4146
[6 empty] | 5% | Material Tax= | [5 empty] | 1915.6745 | 1915.6745 | 1915.6745
[6 empty] | 25% | Overhead and Profit= |  |  |  | 23716.4812 |  | 9578.3724 | 33294.8536 | 33294.8536
[7 empty] | Total Bid= |  |  |  | 118582.4061 |  | 49807.5365 | 168389.9427 | 168389.9427
Phase 2, Alternate 4
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 23752.7422
Building Demolition
1 | AR200 | Div-02 | Remove Acoustical Ceiling Tiles Panels Only | 4367.4 | 5% | 4585.77 | SF | 0.035 | 160.5019 | 74.6 | 11973.4455 | 0 | 0 | 11973.4455
2 | AR200 | Div-02 | Remove Gypsum Board Soffit W/ Framing @ 4'-0" H (Height Assumed, Please Verify) | 202.16 | 5% | 212.268 | SF | 0.015 | 3.184 | 74.6 | 237.5279 | 0 | 0 | 237.5279
3 |  | Div-02 | Hauling of Demolished Material | 7367.4 | 5% | 7735.77 | SF | 0.02 | 154.7154 | 74.6 | 11541.7688 | 0 | 0 | 11541.7688
|  | Div-09 | Finishes | [11 empty] | 57294.8368
Ceiling Finishes
4 | A200 | Div-09 | (2 X 2) Acoustical Ceiling Tile Panels Only Manufacturer: Armstrong Product: Cirrus High Nrc 563 | 3579.8 | 5% | 3758.79 | SF | 0.089 | 334.5323 | 76.19 | 25488.0167 | 2.74 | 10299.0846 | 35787.1013
5 | A200 | Div-09 | (2 x 4) Acoustical Ceiling Tile Panels Only Manufacturer: Armstrong Product: Cirrus High Nrc 565 | 1058.8 | 5% | 1111.74 | SF | 0.089 | 98.9449 | 76.19 | 7538.6089 | 2.74 | 3046.1676 | 10584.7765
6 | A200, A500 | Div-09 | Gypsum Board Soffit | 6.9033 | 0% | 6.9033 | EA | 0.288 | 1.9881 | 76.19 | 151.4768 | 12.54 | 86.5671 | 238.0439
7 | A200, A500 | Div-09 | 3-5/8" Metal Studs | 391.6621 | 5% | 411.2452 | LF | 0.035 | 14.3936 | 76.19 | 1096.6469 | 1.15 | 472.9319 | 1569.5789
Paint
Ceiling Paint
8 | A200, A825 | Div-09 | Paint on Gypsum Board Soffit (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 145.125 | 5% | 152.3812 | SF | 0.02 | 3.0476 | 76.19 | 232.1985 | 0.4 | 60.9525 | 293.151
9 | AR200 | Div-09 | Scrape, Clean and Paint on Existing Ceiling Grids (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 4367.44 | 5% | 4585.812 | SF | 0.02 | 91.7162 | 76.19 | 6987.8603 | 0.4 | 1834.3248 | 8822.1851
[8 empty] | Total= | 863.0241 |  | 65247.5504 |  | 15800.0286 | 81047.579 | 81047.579
[6 empty] | 5% | Material Tax= | [5 empty] | 790.0014 | 790.0014 | 790.0014
[6 empty] | 25% | Overhead and Profit= |  |  |  | 16311.8876 |  | 3950.0071 | 20261.8947 | 20261.8947
[7 empty] | Total Bid= |  |  |  | 81559.438 |  | 20540.0372 | 102099.4751 | 102099.4751
Phase 2, Alternate 5
|  | Div-02 | Selective Demolition and Removal | [11 empty] | 38336.7171
Building Demolition
1 | AR201 | Div-09 | Remove Acoustical Celling Panel W/ Grid | 4484.42 | 5% | 4708.641 | SF | 0.035 | 164.8024 | 74.6 | 12294.2617 |  | 0 | 12294.2617
2 | AR201 | Div-09 | Remove Gypsum Board Soffit | 150.53 | 5% | 158.0565 | SF | 0.015 | 2.3708 | 74.6 | 176.8652 |  | 0 | 176.8652
3 | AR201 | Div-09 | Remove Gypsum Board Soffit W/ Framing @ 4'-0" H (Please Verify Gypsum Board Soffit Height) | 202.28 | 5% | 212.394 | SF | 0.015 | 3.1859 | 74.6 | 237.6689 |  | 0 | 237.6689
4 | AR201 | Div-09 | Remove Lighting Fixtures | 57 | 0% | 57 | EA | 1.225 | 69.825 | 74.6 | 5208.945 |  | 0 | 5208.945
5 | AR201 | Div-09 | Remove and Salvage Ceiling Mounted Devices | 34 | 0% | 34 | EA | 1.4 | 47.6 | 74.6 | 3550.96 |  | 0 | 3550.96
6 | AR201 | Div-09 | Remove and Salvage Mechanical Register/ Diffusers | 19 | 0% | 19 | EA | 2.66 | 50.54 | 74.6 | 3770.284 |  | 0 | 3770.284
7 | AR201 | Div-09 | Remove and Salvage Sprinkler Heads | 44 | 0% | 44 | EA | 1.85 | 81.4 | 74.6 | 6072.44 |  | 0 | 6072.44
8 |  | Div-02 | Hauling of Demolished Material | 4484.42 | 5% | 4708.641 | SF | 0.02 | 94.1728 | 74.6 | 7025.2924 |  | 0 | 7025.2924
|  | Div-09 | Finishes | [11 empty] | 48021.8087
Ceiling Finishes
9 | A201 | Div-09 | (2 X 2) Acoustical Ceiling Tile W/ Grid ACT-1 Manufacturer: Armstrong Product: Cirrus High Nrc 563 | 4436.9 | 5% | 4658.745 | SF | 0.089 | 414.6283 | 76.19 | 31590.5306 | 2.74 | 12764.9613 | 44355.4919
10 | A201 | Div-09 | Gypsum Board Soffit | 14.1789 | 0% | 14.1789 | EA | 0.288 | 4.0835 | 76.19 | 311.1238 | 12.54 | 177.8035 | 488.9273
11 | A201 | Div-09 | 3-5/8" Metal Studs | 610.3511 | 5% | 640.8687 | LF | 0.035 | 22.4304 | 76.19 | 1708.9725 | 1.15 | 736.999 | 2445.9714
Paint
Ceiling Paint
12 | A201, A825 | Div-09 | Paint on Gypsum Board Soffit (P-2) Manufacturer: Sherwin Williams Product: SW 7566 Color: Westhighland White | 362.09 | 5% | 380.1945 | SF | 0.02 | 7.6039 | 76.19 | 579.3404 | 0.4 | 152.0778 | 731.4182
|  | Div-21 | Fire Suppression | [11 empty] | 12742.4041
13 | AR201 | Div-21 | Sprinkler Heads W/ New Cover (Installation Only) | 43 | 0% | 43 | EA | 1.2 | 51.6 | 74.21 | 3829.236 |  | 0 | 3829.236
14 | AR201 | Div-21 | (1" X 1/2") Coupling (If Required) | 43 | 0% | 43 | EA | 0.66 | 28.38 | 74.21 | 2106.0798 | 4.03 | 173.29 | 2279.3698
15 | AR201 | Div-21 | 1" Drop Nipple | 43 | 0% | 43 | EA | 0.985 | 42.355 | 74.21 | 3143.1645 | 19.67 | 845.81 | 3988.9745
16 | AR201 | Div-21 | Branch Pipe (Please Verify, If Required) | 129 | 5% | 135.45 | LF | 0.22 | 29.799 | 74.21 | 2211.3838 | 3.2 | 433.44 | 2644.8238
|  | Div-22 | HVAC | [11 empty] | 23365.1677
Diffusers/ Grilles
17 | AR201 | Div-22 | Mechanical Register/ Diffusers (Installation Only) | 19 | 0% | 19 | EA | 2.5 | 47.5 | 111.08 | 5276.3 |  | 0 | 5276.3
18 | A201, A500 | Div-22 | (12" Dia) Round Duct Connector W/ Acoustic Lining | 14 | 0% | 14 | EA | 1.665 | 23.31 | 111.08 | 2589.2748 | 19.7 | 275.8 | 2865.0748
19 | A201, A500 | Div-22 | (24" Dia) Round Duct Connector W/ Acoustic Lining | 5 | 0% | 5 | EA | 1.8 | 9 | 111.08 | 999.72 | 42.9818 | 214.9091 | 1214.6291
20 | A201, A500 | Div-22 | (12" Dia) Flexible Duct (Please Confirm Duct Size) | 70 | 5% | 73.5 | LF | 0.948 | 69.678 | 111.08 | 7739.8322 | 5.88 | 432.18 | 8172.0122
21 | A201, A500 | Div-22 | (24" Dia) Flexible Duct (Please Confirm Duct Size) | 25 | 5% | 26.25 | LF | 1.896 | 49.77 | 111.08 | 5528.4516 | 11.76 | 308.7 | 5837.1516
|  | Div-26 | Electrical | [11 empty] | 16871.34
Lighting Items
22 | A201 | Div-26 | (2 X 4) Recessed Ceiling Light | 30 | 0% | 30 | EA | 1.88 | 56.4 | 102.1 | 5758.44 | 94.55 | 2836.5 | 8594.94
23 | A201 | Div-26 | (2 X 2) Recessed Ceiling Light | 12 | 0% | 12 | EA | 1.45 | 17.4 | 102.1 | 1776.54 | 84 | 1008 | 2784.54
24 | AR201 | Div-26 | Exit Sign W/ Direction Arrows (Installation Only) | 5 | 0% | 5 | EA | 1.128 | 5.64 | 102.1 | 575.844 |  | 0 | 575.844
25 |  | Div-26 | Conduits | 672 | 0% | 672 | EA | 0.025 | 16.8 | 102.1 | 1715.28 | 1.1 | 739.2 | 2454.48
26 |  | Div-26 | Wiring | 2016 | 0% | 2016 | EA | 0.01 | 20.16 | 102.1 | 2058.336 | 0.2 | 403.2 | 2461.536
|  | Div-27 | Communications | [11 empty] | 1429.4
27 | AR201 | Div-27 | Ceiling Mounted Speaker (Installation Only) | 10 | 0% | 10 | EA | 1.4 | 14 | 102.1 | 1429.4 |  | 0 | 1429.4
|  | Div-28 | Electronic Safety and Security | [11 empty] | 3334.586
28 | AR201 | Div-28 | Motion Sensor (Installation Only) | 7 | 0% | 7 | EA | 1.88 | 13.16 | 102.1 | 1343.636 |  | 0 | 1343.636
29 | AR201 | Div-28 | Fire Alarm Smoke Detector (Installation Only) | 12 | 0% | 12 | EA | 1.625 | 19.5 | 102.1 | 1990.95 |  | 0 | 1990.95
[8 empty] | Total= | 1477.0951 |  | 122598.5531 |  | 21502.8707 | 144101.4237 | 144101.4237
[6 empty] | 5% | Material Tax= | [5 empty] | 1075.1435 | 1075.1435 | 1075.1435
[6 empty] | 25% | Overhead and Profit= |  |  |  | 30649.6383 |  | 5375.7177 | 36025.3559 | 36025.3559
[7 empty] | Total Bid= |  |  |  | 153248.1913 |  | 27953.7318 | 181201.9232 | 181201.9232
Allowances Phase -1
|  | Div-01 | General Requirements | [11 empty] | 35000
Allowance
1 |  | Div-01 | Cash Allowance CA-1 | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 35000 | 35000 | 35000
[8 empty] | Total= | 0 |  | 0 |  | 35000 | 35000 | 35000
[6 empty] | 0% | Material Tax= | [5 empty] | 0 | 0 | 0
[6 empty] | 0% | Overhead and Profit= |  |  |  | 0 |  | 0 | 0 | 0
[7 empty] | Total Bid= |  |  |  | 0 |  | 35000 | 35000 | 35000
Allowances Phase - 2
|  | Div-01 | General Requirements | [11 empty] | 30000
Allowance
1 |  | Div-01 | Phase 2 Cash Allowance CA-2 | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 30000 | 30000 | 30000
[8 empty] | Total= | 0 |  | 0 |  | 30000 | 30000 | 30000
[6 empty] | 0% | Material Tax= | [5 empty] | 0 | 0 | 0
[6 empty] | 0% | Overhead and Profit= |  |  |  | 0 |  | 0 | 0 | 0
[7 empty] | Total Bid= |  |  |  | 0 |  | 30000 | 30000 | 30000